## COSTING
[15 empty] | EURO TO $ USA | : | 1.15
| CODE | : | 1708 - TGI |  |  | QTY | : | 2 | [6 empty] | $SING TO $USA | : | 1.2
| REV. NO | : | 06 | [11 empty] | FACTORY DISCOUNT | : | 30%
| FILE | : | TGI | [11 empty] | TOTAL DISCOUNT | : | 0% |  | CTOPS DISCOUNT | : | 0%
| DATE | : | 2018-02-14 15:59 |  |  | MODEL | : | G 3406 | [6 empty] | ESCALATION | : | 0% |  | SPAR / FOCUS PROGRAM | : | 0%
| CUSTOMER | : | TGI |  |  | OUTPUT | : | 156KVA | [6 empty] | CFEL PREMIUM CHGS | : | 0% |  | TOTAL DISCOUNT | : | 0%
| ADDRESS | : | JKT |  |  | HZ / RPM | : | 50 HZ / 1500 RPM | [6 empty] | LIST GROSS MARGIN | : | 30%
| REQ. BY | : | JCH |  |  | VOLTAGE | : | 400 V | [6 empty] | CUSTOM DUTIES | : | 10%
| PROJECT | : | TGI |  |  | RATING | : | CONTINUOUS | [6 empty] | INWARD HANDLING | : | 2.5%
| DIVISION | : | MARINE, OIL AND GAS |  |  | ASPIRATION | : | TA | [6 empty] | FINANCE RECOVERY CHARGES | : | 2%
|  |  | FACTORY | QTY | A/I |  |  | COMPLETION SINGAPORE |  |  |  | COMPLETION INDONESIA
| Ref. No. |  | Description |  |  | List Price |  |  |  | $SING | $USA |  |  |  | RUPIAH |  | $USA
A1. | NSPSNUS_I | 1 | NSPS NON - U.S. GENSET | 0 | L | 0 |  |  | RECEIVING COST FROM PORT |  | 0 | FORWARDING CHARGES |  |  |  |  | 2500
| 50H0400_I | 1 | 50HZ 400 VOLTS | 0 | N | 0 |  |  | RECEIVING INSPECTION |  | 0 | FREIGHT TO INDONESIA |  |  |  |  | 1650
| CONTINU_I | 1 | CONTINUOUS APPLICATION | 0 | N | 0 |  |  | TOTAL INWARD COSTS |  | 0 | INSURANCE |  |  |  |  | 75.6982
| ESCNONE_I | 1 | No Extended Service Coverage | 0 | N | 0
| KV00156_I | 1 | 156 KVA W/FAN | 0 | L | 0 |  |  | TOTAL OUR WORKS AT SINGAPORE |  | 73198.2395 | CIF COST INDONESIA PORT |  |  |  |  | 77423.9377
| 406GE41_I | 1 | G3406 NA 156 KVA 50HZ PGS 41 | 84420 | L | 84420
| NOEUCRT_I | 1 | NO EU CERT REQUEST-SEE DETAILS | 0 | N | 0 |  |  | CAT PARTS & SERVICES (IN SINGAPORE)
| MSPETPG_I | 1 | PETRO LAND PRODUCTION / PMPING | 0 | N | 0 |  |  |  |  | 0 | DUTY |  |  |  |  | 7742.3938
| MSCPB32_I | 1 | LAND PRODUCTION PRIME GENSET | 0 | N | 0 |  |  |  |  | 0 | INWARD HANDLING |  |  |  |  | 1935.5984
| MWCODEE_I | 1 | PRIME POWER | 0 | L | 0 |  |  |  |  | 0
| LUBOIL8_I | 1 | LUBRICATING OIL | 453 | L | 453 |  |  |  |  | 0 | [5 empty] | 9677.9922
| GDCDNRE_I | 1 | GRID CODE COMPLIANCE NOT REQ'D | 0 | L | 0 |  |  |  |  | 0
| LANENGO_I | 1 | ENGLISH LANGUAGE OPTION | 0 | N | 0 |  |  |  |  | 0 | C | MECHANICAL AUXILLARIES
| LANENGC_I | 1 | ADDL LANGUAGE-ENGLISH | 0 | L | 0 |  |  |  |  | 0 | C1. | BASE
| EMCMETU_I | 1 | METRIC DISPLAY UNITS 01 | 0 | L | 0 |  |  |  |  | 0 |  | Sound Attenuated Enclosure 85dBA @ 1 meter
| CT03005_I | 1 | CURRENT TRANSF., 300:5 RATIO | 0 | L | 0 |  |  |  |  | 0 |  | 29850.7463
| EMCCAS1_I | 1 | COMMON ALARM/SHUTDOWN | 155 | L | 155 |  |  |  |  | 0
| GOVLS24_I | 1 | 8290 LOAD SHARING MODULE | 1250 | L | 1250 |  |  |  |  | 0
| FULFL12_S | 1 | REMOTE MNT FUEL FLT (2") | 1872 | L | 1872 |  |  |  |  | 0 | [5 empty] | 0
| PTSRR01_I | 1 | REAR POWER TERMINAL STRIP | 0 | L | 0 |  |  |  |  | 0 | [5 empty] | 0
| MUF0005_S | 1 | MUFFLER 07 | 904 | L | 904 |  |  |  |  | 0 | C2 | COOLING
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | C3 | FUEL
0
0
[9 empty] | T O T A L |  | 0
[8 empty] | C | MECHANICAL AUXILLARIES
[8 empty] | C1. | BASE
0
[11 empty] | 0 | C4 | STARTING
0
0
0
0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[8 empty] | C2 | COOLING | [7 empty] | 0
[11 empty] | 0 | C5 | EXHAUST
[11 empty] | 0 |  | SA Muffler
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[8 empty] | C3 | FUEL |  |  |  | TOTAL MECHANICAL AUX |  |  |  | 0
0
[11 empty] | 0 | D | ELECTRICAL
[11 empty] | 0 | D1 | ENGINE PANEL
[6 empty] | 0 |  |  |  |  | 0 |  | ATS & AMF
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  | C4 | STARTING | [7 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | D2 | REMOTE CONTROL
| EX FACTORY LIST |  |  |  |  | 89054 |  |  |  |  | 0 | [5 empty] | 0
| EX FACTORY WITH ESCALATION |  |  |  |  | 89054 |  |  |  |  | 0 | [5 empty] | 0
| EX FACTORY NETT (WITH CTOPS & CAPL PREM CHG) |  |  |  |  | 62337.8 |  | C5 | EXHAUST | [7 empty] | 0
[11 empty] | 0 | D3 | SWITCHGEAR
A2. |  |  | 30% DISCOUNT - CAT ITEM | [7 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[9 empty] | TOTAL MECHANICAL AUX |  | 0 | [5 empty] | 0
[9 empty] | OTHER | [7 empty] | 0
[11 empty] | 0 | D6 | MOTOR CONTROL
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 |  | TOTAL ELECTRICAL |  |  |  | 0
| EX FACTORY LIST |  |  |  |  | 0 |  |  |  |  | 0 |  | INDONESIAN WORK SHOP
| ESCALATION EX FACTORY |  |  |  |  | 0 |  |  | TOTAL OTHER |  | 0
| EX FACTORY NETT (WITH 30% DISC) |  |  |  |  | 0 |  | D | ELECTRICAL |  |  |  | PREPARATION (PDI) |  |  |  | 1000
[8 empty] | D1 | ENGINE PANEL
A3 |  |  | NETT ITEMS | [7 empty] | 0 |  | CAT PARTS & SERVICES (IN INDONESIA)
[11 empty] | 0 | [5 empty] | 0
| EXB0019_I | 1 | EXP BOXING-GEN SET | 1182 | N | 1182 |  |  |  |  | 0 | [5 empty] | 0
| TRSGEN7_I | 1 | PGS TEST REPORT @ 0.8 PF | 324 | N | 324 |  | D2 | REMOTE CONTROL | [7 empty] | 0
| MISCHC1_I | 1 | SGS INSPECTION | 432 | N | 432 | [10 empty] | 0
| 0V8707 | 1 | DTO QUOTE DESIGN FEE | 0 |  | 0 | [10 empty] | 0
| 0V1156 | 1 | QUOTE NO: 10662661 | 0 |  | 0 | [10 empty] | 0
| 0V3410 | 1 | PETROLEUM PACKAGING | 0 |  | 0 | [6 empty] | TOTAL COST |  |  |  | 0
| 0V2834 | 1 | TESTING (STANDARD AND/OR SPECIAL) | 0 |  | 0
| 0V2319 | 1 | WITNESS TEST/OBSERVATION OF TEST | 4700 | N | 4700 |  |  |  |  | 0 |  | ENGINE INSURANCE |  |  |  | 0
| 0V2834 | 1 | CLARIFICATIONS/EXCEPTIONS | 0 |  | 0 |  |  |  |  | 0 |  | WARRANTY |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | STOCK HOLDING CHARGES |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | TOTAL COST |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | TOTAL |  |  |  | 1000
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | INSTALLATION
[6 empty] | 0 |  |  |  |  | 0 | TU-SERV | TESTING & COMMISSIONING |  |  |  | 2500
[6 empty] | 0 |  |  |  |  | 0 | TU-SERV | PROJECT MANAGEMENT
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | SKPP
[6 empty] | 0 |  |  |  |  | 0 |  | 133000000
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
| NETT EX FACTORY |  |  |  |  | 6638 |  | D3 | SWITCHGEAR
| ESCALATION EX FACTORY |  |  |  |  | 6638 |  |  |  |  | 0
0
TOTAL COST EX FACTORY | [5 empty] | 68975.8 |  |  |  |  | 0
| FORWARDING CHARGES |  |  |  |  | 2500 |  |  |  |  | 0
| SEA FREIGHT TO SINGAPORE |  |  |  |  | 1550 |  | D6 | MOTOR CONTROL
| INSURANCE |  |  |  |  | 172.4395 |  |  |  |  | 0
0
LANDED SINGAPORE WHARF | [5 empty] | 73198.2395 |  |  |  |  | 0
[9 empty] | TOTAL ELECTRICAL |  | 0 |  | TOTAL |  |  |  | 2500
|  |  | OTHER | [9 empty] | LOCAL ADDITIONAL
[8 empty] | E | SERVICES SINGAPORE | [7 empty] | 0
B | GENERATOR/TRANSMISSION | [15 empty] | 0
[8 empty] | PREPARATION |  |  | 0
[8 empty] | BOXING |  |  | 0 |  | FAT |  |  |  | 5000
[9 empty] | TOTAL WORKSHOP |  |  |  | SGS inspection |  |  |  | 1426.3889
19256250
[8 empty] | PRE DELIVERY SERVICE |  |  | 0
[8 empty] | DELIVERY TO WHARF |  |  | 0 | [5 empty] | 0
[8 empty] | DELIVERY INSPECTION |  |  | 0 | [5 empty] | 0
[8 empty] | LOAD BANK TEST |  |  | 0 | [5 empty] | 0
| TOTAL EX FACTORY |  |  |  |  | 0 |  |  | TOTAL TRAFFIC |  |  |  | TOTAL LOCAL ADDITIONAL |  |  |  | 6426.3889
| GENERATOR ESCALATION |  |  |  |  | 0 |  |  | FINANCE RECOVERY CHARGES |  |  |  | TOTAL COST INDONESIA |  |  |  | 8926.3889
| TOTAL GEN/TRANS SING WHARF |  |  |  |  | 0
| ENGINE & GENERATOR SINGAPORE WHARF |  |  |  |  | 73198.2395 |  |  | TOTAL COST FAS SING |  | 73198.2395 |  | TOTAL DELIVERY DUTY PAID INDONESIA |  |  |  | 97028.3188
PRICE LIST |  |  | 2016-01-01
CTOPS |  |  | 2016-01-01 | [7 empty] | DISCOUNT
[10 empty] | LIST | 2.5% | 5% | 10% | 12.5% | 15% |  | 17.5% | 15% | 15%
SPECIAL NOTE |  | : | PRICE VALIDITY : 30 DAYS
|  |  | DELIVERY TIME : | [5 empty] | FCA | 117320.8977 | 113275.3495 | 109499.5045 | 102655.7855 | 99545.0041 | 96617.2099 |  | 93856.7182 | 96617.2099
[9 empty] | CIF I | 123357.6095 | 119103.8988 | 115133.7688 | 107937.9083 | 104667.0626 | 101588.6196 |  | 98686.0876 | 101588.6196
RECEIVED BY |  | : | [6 empty] | CIF II | 125824.7617 | 121485.9768 | 117436.4442 | 110096.6665 | 106760.4038 | 103620.392 |  | 100659.8093 | 103620.392
[9 empty] | CIF III | 127058.3378 | 122677.0158 | 118587.7819 | 111176.0455 | 107807.0745 | 104636.2781 |  | 101646.6702 | 104636.2781
APPROVED BY |  | : | [6 empty] | DDP I | 138611.8841 | 133832.1639 | 129371.0918 | 121285.3986 | 117610.0834 | 114150.9633 |  | 110889.5073 | 114150.9633 | 1529622908.8636 |  | 3059245817.7272
[9 empty] | DDP II | 141384.1217 | 136508.8072 | 131958.5136 | 123711.1065 | 119962.2851 | 116433.9826 |  | 113107.2974 | 116433.9826
[9 empty] | DDP III | 142770.2406 | 137847.1288 | 133252.2245 | 124923.9605 | 121138.386 | 117575.4922 |  | 114216.1925 | 117575.4922
[8 empty] | TIME | 0:00 | [7 empty] | FMCIF

## ISA CONFIGURATION
ISA Configuration
Feature Code | Qty | Description | Unit Price | L/N | Total Price
NSPSNUS_I | 1 | NSPS NON - U.S. GENSET | 0 | L | 0
50H0400_I | 1 | 50HZ 400 VOLTS | 0 | N | 0
CONTINU_I | 1 | CONTINUOUS APPLICATION | 0 | N | 0
ESCNONE_I | 1 | No Extended Service Coverage | 0 | N | 0
KV00156_I | 1 | 156 KVA W/FAN | 0 | L | 0
406GE41_I | 1 | G3406 NA 156 KVA 50HZ PGS 41 | 84420 | L | 84420
NOEUCRT_I | 1 | NO EU CERT REQUEST-SEE DETAILS | 0 | N | 0
MSPETPG_I | 1 | PETRO LAND PRODUCTION / PMPING | 0 | N | 0
MSCPB32_I | 1 | LAND PRODUCTION PRIME GENSET | 0 | N | 0
MWCODEE_I | 1 | PRIME POWER | 0 | L | 0
LUBOIL8_I | 1 | LUBRICATING OIL | 453 | L | 453
GDCDNRE_I | 1 | GRID CODE COMPLIANCE NOT REQ'D | 0 | L | 0
LANENGO_I | 1 | ENGLISH LANGUAGE OPTION | 0 | N | 0
LANENGC_I | 1 | ADDL LANGUAGE-ENGLISH | 0 | L | 0
EMCMETU_I | 1 | METRIC DISPLAY UNITS 01 | 0 | L | 0
CT03005_I | 1 | CURRENT TRANSF., 300:5 RATIO | 0 | L | 0
EMCCAS1_I | 1 | COMMON ALARM/SHUTDOWN | 155 | L | 155
GOVLS24_I | 1 | 8290 LOAD SHARING MODULE | 1250 | L | 1250
FULFL12_S | 1 | REMOTE MNT FUEL FLT (2") | 1872 | L | 1872
PTSRR01_I | 1 | REAR POWER TERMINAL STRIP | 0 | L | 0
MUF0005_S | 1 | MUFFLER 07 | 904 | L | 904
|  | USD List Total |  |  | 89054
|  | USD Net Total |  |  | 1938
EXB0019_I | 1 | EXP BOXING-GEN SET | 1182 | N | 1182
TRSGEN7_I | 1 | PGS TEST REPORT @ 0.8 PF | 324 | N | 324
MISCHC1_I | 1 | SGS INSPECTION | 432 | N | 432
Part Number | Qty | Description | Unit Price | L/N | Total Price
0V8707 | 1 | DTO QUOTE DESIGN FEE | 0 |  | 0
0V1156 | 1 | QUOTE NO: 10662661 | 0 |  | 0
0V3410 | 1 | PETROLEUM PACKAGING | 0 |  | 0
0V2834 | 1 | TESTING (STANDARD AND/OR SPECIAL) | 0 |  | 0
0V2319 | 1 | WITNESS TEST/OBSERVATION OF TEST | 4700 | N | 4700
0V2834 | 1 | CLARIFICATIONS/EXCEPTIONS | 0 |  | 0

## SCOPE OF SUPPLY
Scope of Supply
AIR INLET SYSTEM
Air cleaner, single element canister type with service indicator.
CHARGING SYSTEM
45 amp charging alternator
24 volt starting motor
Battery with rack and cables
Battery disconnect switch
CONTROL SYSTEM
Governor, Woodward, Flo-tech 68
CONTROL PANELS
EMCP 4.2 controls including:
- Run / Auto / Stop Control
- Speed Adjust
- Voltage Adjust
- Engine Cycle Crank
- Emergency stop pushbutton
EMCP 4.2 controller features:
- 24-volt DC operation
- Panel Lights
- Environmental sealed front face
- Dust Proof Enclosure
- Generator Running Relay
- Text alarm/event descriptions
- True RMS AC metering, 3-phase, ©1% accuracy.
Digital indication for:
- RPM
- DC volts
- Operating hours
- Oil pressure (psi, kPa or bar)
- Coolant temperature
- Volts (L-L & L-N), frequency (Hz)
- Amps (per phase & average)
- Power Factor (per phase & average)
- kW (per phase, average & percent)
- kVA (per phase, average & percent)
- kVAr (per phase, average & percent)
- kW-hr (total)
- kVAr-hr (total)
Warning/shutdown with common LED indication of shutdowns for:
- Low oil pressure
- High coolant temperature
- Overspeed
- Emergency stop
- Failure to start (overcrank)
- Low coolant temperature
- Low coolant level
Programmable protective relaying functions:
- Generator phase sequence
- Over/Under voltage (27/59)
- Over/Under Frequency (81 o/u)
- Reverse Power (kW) (32)
- Reverse Reactive Power (kVAr) (32RV)
- Overcurrent (50/51)
Communications
- Customer data link (Modbus RTU)
- Accessory module data link
- Serial annunciator module data link
- 6 programmable digital inputs
- 4 programmable relay outputs (Form A)
- 2 programmable relay outputs (Form C)
- 2 programmable digital outputs
Compatible with the following optional modules:
- Digital I/O module
- Local Annunciator
- Remote CAN annunciator
- Remote serial annunciator
- RTD module
- Thermocouple module
COOLING SYSTEM
Radiator with guard (41 C/105 F)
Elevation 200m/660ft.
Coolant drain lines with valves;
piped to edge of base
Fan and belt guards
Caterpillar Coolant
(not included w/radiator removal)
Low coolant level sensor
(not included w/radiator removal)
EXHAUST SYSTEM
Stainless steel exhaust flex (comes with two
ship-loose weld flanges to be welded to flex tube)
FUEL SYSTEM
Gas pressure regulator
Low pressure fuel system
(1.5-5.0 psi / 10.3-34.5 kPa).
Energize to run (ETR) gas shutoff valve (GSOV)
Fuel filter is required but not provided as standard: customer may
provide or see Optional Fuel Filters.
1 Unit of VERTICAL FILTER SEPARATOR PECO SERIES 85-1-36-6-275
1 Set of Auxiliary for VERTICAL FILTER SEPARATOR
1 Unit of Pressure Safety Valve, Conventional Type
1 Lots of Base Skid around 1500 mm x 1300 mm x 100 mm and Bypass Line
1 Lots of Piping By Pas Line, manual Valve & Instrument
consist of:
- 1 Unit Vertical Filter Separator PECO Series 85-1-36-6-275
with Blind Flange
- 2 ea Liquid Drainer Amstrong 3 LD Single Lever Ball
Float Liquid Drainers, Cast Semi-Steel, 250 psi W.P
(or equal), complete with Valves, Unions and pipe
required for Hook-up.
- 2 ea Liquid Level Gauge, each consisting of two (2)
Essex 1/2" Valves with Pyrex Red Line Transparent
Tube 200 psi MAWP (or equal)
- 1 ea Pressure Safety Valve, Conventional Type
- 1 Lot of Base Skid around 1500 mm x 1300 mm x 100 mm
and Bypass Line
- 1 Lot of Manual Valve and Instrument, Pipe & Fitting
Inclusion :
- Structural Skid
- NDE for Weld Piping
- X-Ray for Weld Piping
- Re-hydrotest and Leak Test
- Documentation for MIGAS Certification
GENERATORS AND GENERATOR ATTACHMENTS
SR4B generator - Self Excited
Class H insulation, Class F temperature rise
(105 C Continuous/ 130 C Standby)
12 Lead (600 volt Generators are 6 lead)
VR6 Voltage Regulator; 3-phase sensing with
reactive droop
2:1 Volts/Hz or 1:1 Volts/Hz
Bus bar termination
Extension box
Segregated low voltage (AC/DC) wiring panel
Random wound
GOVERNING SYSTEM
Flo-Tech speed control and ITB (integrated
throttle body and actuator)
IGNITION SYSTEM
Digital Ignition System
LUBE SYSTEM
Lubricating oil option
Oil filter
Oil drain line with valve; piped to edge of base
Fumes disposal; piped to front of radiator
MOUNTING SYSTEM
Narrow formed steel base
Linear vibration isolators between base and engine-generator
Sound Attenuated Enclosure 85 Dba @ 1 meter
STARTING/CHARGING SYSTEM
45 amp charging alternator
24 volt starting motor
Batteries w/racks and cables
Battery disconnect switch
GENERAL
Paint, Caterpillar yellow

## FORM-FCA
Material No. (internal) |  |  | MARGIN | 15%
Material No. (external) |  |  | RATE (USD-IDR)
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | FCA SINGAPORE
ZQ01 | UNIT & ATTACHMENT VALUE |  | 68975.8 | 73198.2395
| A. LIST PRICE | 89054
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 6638
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 4050
| - Freight to PTTU Singapore | 1550
| - Forwarding Charge | 2500
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 0
| - Duty | 0%
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 0
| - Handling Charges (Singapore) | 0
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 0
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 172.4395
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 172.4395
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 2500
| - Testing & Commissioning | 2500 | 0
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 6426.3889
| - Local Completion (Accessories) - Singapore | 0
| - Local Completion (Accessories) - Indonesia | 6426.3889
TOTAL COST |  |  | 82124.6284
TOTAL DELIVERY FCA SINGAPORE (USD) |  |  |  | 96700
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## FORM-CIF
Material No. (internal) |  |  | MARGIN | 15%
Material No. (external) |  |  | RATE (USD-IDR)
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | FCA SINGAPORE
ZQ01 | UNIT & ATTACHMENT VALUE |  | 68975.8 | 77423.9377
| A. LIST PRICE | 89054
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 6638
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 8200
| - Freight to PTTU Indonesia | 1650
| - Freight to PTTU Singapore | 1550
| - Forwarding Charge | 5000
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 0
| - Duty | 0%
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 0
| - Handling Charges (Singapore) | 0
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 0
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 248.1377
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 248.1377
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 2500
| - Testing & Commissioning | 2500 | 0
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 6426.3889
| - Local Completion (Accessories) - Singapore | 0
| - Local Completion (Accessories) - Indonesia | 6426.3889
TOTAL COST |  |  | 86350.3266
TOTAL DELIVERY FCA SINGAPORE (USD) |  |  |  | 101600
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## FORM-DDP
Material No. (internal) |  |  | MARGIN | 15%
Material No. (external) |  |  | RATE (USD-IDR) | 0
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | CNF JAKARTA
ZQ01 | UNIT & ATTACHMENT VALUE |  | 68975.8 | 86785.9251
| A. LIST PRICE | 89054
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 6638
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 8200
| - Freight to PTTU Indonesia | 1650
| - Freight to PTTU Singapore | 1550
| - Forwarding Charge | 5000
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 7742.3938
| - Duty | 7742.3938
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 1935.5984
| - Handling Charges (Singapore) | 0
| - Handling Charges (Indonesia) | 1935.5984
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 1000
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Jakarta | 1000
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 248.1377
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 248.1377
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 2500
| - Testing & Commissioning | 2500
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 6426.3889
| - Local Completion (Accessories) - Singapore | 0
| - Local Completion (Accessories) - Indonesia | 6426.3889
TOTAL COST |  |  | 97028.3188
TOTAL DELIVERY DDP JAKARTA (USD) |  |  |  | 114200
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## REFERENCE
Cost Component Code
Cost Component Type | Description | Cost Element Unit | Cost Element Attachment
ZQ01 | Unit & Attachment Value | 5010000000 | 5010600000
ZQ02 | Int’l Freight Inbound | 5011001000 | 5011001000
ZQ03 | Custom Duty | 5011003000 | 5011003000
ZQ04 | Local Freight/Handling Inbound | 5011002000 | 5011002000
ZQ05 | Service & Parts | 5011004000 | 5011004000
ZQ06 | Insurance | 5011006000 | 5011006000
ZQ07 | Pre-Commissioning & Commissioning | 5011007000 | 5011007000
ZQ08 | Warranty | 5011008000 | 5011008000
ZQ09 | Miscellaneous | 5011009000 | 5011009000
ZQ10 | Local Freight/Handling Outbound | 5011010000 | 5011010000
ZQ11 | Int’l Freight Outbound | 5011011000 | 5011011000
ZQ12 | CAT Discount
ZQ13 | Marketing Program Parts Voucher
ZQ14 | Marketing Program Preventive Maintenance
ZQ15 | Service & Parts (Subletting) | 5011005000 | 5011005000