## COSTING
[15 empty] | EURO TO $ USA | : | 1.15
| CODE | : | CSQ#30305267 |  |  | QTY | : | 3 UNIT | [6 empty] | $SING TO $USA | : | 1.2
| REV. NO | : | [12 empty] | FACTORY DISCOUNT | : | 30%
| FILE | : | CBU_JS137_GG_G3516 PTPL_770EKW_60HZ_480V_MEDCO RIMAU_BDGT | [11 empty] | TOTAL DISCOUNT | : | 0% |  | CTOPS DISCOUNT | : | 0%
| DATE | : | 2017-06-15 |  |  | MODEL | : | G3516 | [6 empty] | ESCALATION | : | 0% |  | SPAR / FOCUS PROGRAM | : | 0%
| CUSTOMER | : | MEDCO |  |  | OUTPUT | : | 770 EKW | [6 empty] | CFEL PREMIUM CHGS | : | 0% |  | TOTAL DISCOUNT | : | 0%
| ADDRESS | : | RIMAU BLOK |  |  | HZ / RPM | : | 60HZ/1200RPM | [6 empty] | LIST GROSS MARGIN | : | 30%
| REQ. BY | : | EMS YUSFI |  |  | VOLTAGE | : | 480V | [6 empty] | CUSTOM DUTIES | : | 10%
| PROJECT | : |  |  |  | RATING | : | CONTINUOUS | [6 empty] | INWARD HANDLING | : | 0.6%
| DIVISION | : | POWER SYSTEMS |  |  | ASPIRATION | : | [7 empty] | FINANCE RECOVERY CHARGES | : | 0%
|  |  | FACTORY | QTY | A/I |  |  | COMPLETION SINGAPORE |  |  |  | COMPLETION INDONESIA
| Ref. No. |  | Description |  |  | List Price |  |  |  | $SING | $USA |  |  |  | RUPIAH |  | $USA
A1. | COREARG_I |  | TOP LEVEL CORE ARRANGEMENT | 1 | L | 0 |  |  | RECEIVING COST FROM PORT | 0 | 0 | FORWARDING CHARGES |  |  |  |  | 0
| 54DEGSC_I |  | 54 DEG SCAC | 1 | L | 0 |  |  | RECEIVING INSPECTION | 0 | 0 | FREIGHT TO INDONESIA |  |  |  |  | 4500
| KWW0770_I |  | 770 EKW W/O FAN (54C/130F) | 1 | L | 0 |  |  | TOTAL INWARD COSTS |  | 0 | INSURANCE |  |  |  |  | 1196.7604
| HIPRESS_I |  | HIGH PRESSURE GAS | 1 | L | 0
| 516GS47_I |  | G3516 LE GENSET-60HZ HPC-CORE | 1 | L | 421150 |  |  | TOTAL OUR WORKS AT SINGAPORE |  | 445104.15 | CIF COST INDONESIA PORT |  |  |  |  | 484400.9104
| MWCODEE_I |  | PRIME POWER | 1 | L | 0
| EXPTTAG_I |  | EXPORT TAG | 1 | L | 0 |  |  | CAT PARTS & SERVICES (SNG)
| OGNPMMJ_I |  | GENERATOR 807 FRAME PM 480V | 1 | L | 127788 |  |  |  |  | 0 | DUTY |  |  |  |  | 48440.091
| EMCPNL8_I |  | ELECT. MOD CONT PANEL II+ | 1 | L | 8894 |  |  |  |  | 0 | INWARD HANDLING |  |  |  |  | 2906.4055
| EMCMETU_I |  | METRIC DISPLAY UNITS | 1 | L | 0 |  |  |  |  | 0
| EMCPLAR_I |  | PANEL LIGHTS/AUXILIARY RELAY | 1 | L | 203 |  |  |  |  | 0 | [5 empty] | 51346.4965
| NFPA099_I |  | NFPA 99 REQUIRMENT | 1 | L | 0 |  |  |  |  | 0 | C | MECHANICAL AUXILLARIES
| EMCAM06_I |  | ALARM MODULE - NFPA 99 | 1 | L | 929 |  |  |  |  | 0 | C1. | BASE
| EMCAM03_I |  | CUSTOM ALARM MODULE - 8 LIGHTS | 1 | L | 615 |  |  |  |  | 0 | [5 empty] | 0
| GOVLS08_I |  | 2301A LOAD SHARING GOVERNOR | 1 | L | 1940 |  |  |  |  | 0 | [5 empty] | 0
| ASMRH28_I |  | AIR/GAS STARTING MOTOR RH 2 | 1 | L | 3803 |  |  |  |  | 0 | [5 empty] | 0
| BARGP18_I |  | ENGINE BARRING GROUP | 1 | L | 214 |  |  |  |  | 0 | [5 empty] | 0
| ALT6011_I |  | CHARGING ALT - 24V - 60 AMP | 1 | L | 1959 |  |  |  |  | 0 | [5 empty] | 0
| JWINFH0_I |  | JW IN CAT FLANGE-HOSE CONN | 1 | L | 164 |  |  |  |  | 0 | [5 empty] | 0
| JWOTCF0_I |  | JW OUT RH CAT FLANGE CONN | 1 | L | 287 |  |  |  |  | 0 | [5 empty] | 0
| TSTAT38_I |  | THERMOSTATIC VALVE (54 DEG C) | 1 | L | 552 |  |  |  |  | 0 | [5 empty] | 0
| EXGAG00_I |  | GAUGES | 1 | L | 556 |  |  |  |  | 0 | C2 | COOLING
| GIPDT05_I |  | DIGITAL TACHOMETER | 1 | L | 294 |  |  |  |  | 0 | [5 empty] | 0
| GIPAWP1_I |  | AUX. WATER PRESSURE GAUGE | 1 | L | 471 |  |  |  |  | 0 | [5 empty] | 0
| OILPN04_I |  | STANDARD OIL PAN | 1 | L | 4997 |  |  |  |  | 0 | [5 empty] | 0
| AIRPP23_I |  | AIR PRELUBE PUMP | 1 | L | 2595 |  |  |  |  | 0 | [5 empty] | 0
| DOFRH06_I |  | DUPLEX OIL FILTER-RH | 1 | L | 4604 |  |  |  |  | 0 | [5 empty] | 0
| OLVLRG9_I |  | OIL LEVEL REGULATOR-STD PAN | 1 | L | 542 |  |  |  |  | 0 | [5 empty] | 0
| OILDRN6_I |  | OIL PAN DRAIN VLV/11 1/2NPTF/2 | 1 | L | 111 |  |  | TOTAL CAT PARTS & SERVICES (SNG) |  | 0 | [5 empty] | 0
| SPMPL16_I |  | SUMP PUMP LH - STD PAN | 1 | L | 714 |  | C | MECHANICAL AUXILLARIES | [7 empty] | 0
| LUBOILU_I |  | LUBRICATING OIL-ULTRA-STD PAN | 1 | L | 2359 |  | C1. | BASE |  |  | C3 | FUEL
| NSSDG01_I |  | NO STUB SHAFT - DAMPER GUARD | 1 | L | 283 |  |  |  |  | 0 | [5 empty] | 0
| EXRVL24_I |  | EXPLOS RELIEF VALVE-STD PAN 1 | 1 | L | 1264 |  |  |  |  | 0 | [5 empty] | 0
| APRRH01_N |  | AIR PRESSURE REGULATOR RH | 1 | L | 797 |  |  |  |  | 0 | [5 empty] | 0
| EASCRH3_I |  | ELECTRIC AIR SRT CONTROL RH 1 | 1 | L | 471 |  |  |  |  | 0 | [5 empty] | 0
| JWH0110_I |  | JACKET WATER HEATER | 1 | L | 1618 |  |  |  |  | 0 | [5 empty] | 0
| AIARO01_S |  | AIR INLET ADAPTER-ROUND | 1 | L | 568 |  |  |  |  | 0 | [5 empty] | 0
| BAT2451_S |  | 24V BAT SET-DRY/2600CCA/QTY4 | 1 | L | 2462 |  |  |  |  | 0 | [5 empty] | 0
| BTRCBL1_S |  | BATTERY CABLES/1880MM (1-2) | 1 | L | 164 |  |  |  |  | 0 | [5 empty] | 0
| BTR0022_S |  | 2 BATTERY RACK/FLOOR (1-2) | 1 | L | 187 |  | C2 | COOLING |  |  | C4 | STARTING
| EMCEFR1_I |  | ENGINE FAILURE RELAY | 1 | L | 48 |  |  |  |  | 0 | [5 empty] | 0
| EMCCIM1_S |  | CUSTOMER INTERFACE MODULE-CIM | 1 | L | 542 |  |  | REMOTE RADIATOR |  | 33600 | [5 empty] | 0
| EMCRMP1_S |  | REM 8-LIGHT ANNUNCIATOR | 1 | L | 636 |  |  | 42000 |  | 0 | [5 empty] | 0
| COLMJA2_S |  | MECHANICAL JOINT ASSEMBLY | 1 | L | 315 |  |  |  |  | 0 | [5 empty] | 0
| EXCEL10_S |  | ELBOW-254MM (10 IN) | 1 | L | 666 |  |  |  |  | 0 | [5 empty] | 0
| EXCFF40_S |  | FLEXIBLE FITTING/203MM/8IN | 1 | L | 426 |  |  |  |  | 0 | [5 empty] | 0
| EXHEX11_S |  | FLANGE & EXH EXP/203 TO 254MM | 1 | L | 1420 |  |  |  |  | 0 | [5 empty] | 0
| MUFSA04_S |  | MUFFLER-SPARK/20DBA/10IN | 1 | L | 2475 |  |  |  |  | 0 | [5 empty] | 0
| FULFL14_S |  | FUEL FILTER | 1 | L | 9431 |  | C3 | FUEL |  |  | C5 | EXHAUST
| RTD0001_I |  | BEARING TEMPERATURE RTD/PLAT | 1 | L | 430 |  |  |  |  | 0 | [5 empty] | 0
| MVC0003_I |  | MANUAL VOLTAGE CONTROL | 1 | L | 741 |  |  |  |  | 0 | [5 empty] | 0
| SHREL01_I |  | SPACE HEATER RELAY | 1 | L | 96 |  |  |  |  | 0 | [5 empty] | 0
| EMCDV01_I |  | DUAL VOLTAGE CAPABILITY | 1 | L | 0 |  |  |  |  | 0 | [5 empty] | 0
| EMCDP01_I |  | DUST-PROOF ENCLOSURE | 1 | L | 101 |  |  |  |  | 0 | [5 empty] | 0
| VIBIS05_S |  | VIBRATION ISOLATORS | 1 | L | 1263 |  |  |  |  | 0 | [5 empty] | 0
| SOV2403_S |  | GAS SHUTOFF VALVE | 1 | L | 562 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  | C4 | STARTING |  |  |  | TOTAL MECHANICAL AUX |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 | D | ELECTRICAL
[6 empty] | 0 |  |  |  |  | 0 | D1 | ENGINE PANEL
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  | C5 | EXHAUST | [7 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | D2 | REMOTE CONTROL
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
| EX FACTORY LIST |  |  |  |  | 612707 |  |  |  |  | 0 | [5 empty] | 0
| EX FACTORY WITH ESCALATION |  |  |  |  | 612707 |  |  | TOTAL MECHANICAL AUX |  | 33600 | [5 empty] | 0
| EX FACTORY NETT (WITH CTOPS & CAPL PREM CHG) |  |  |  |  | 428894.9 |  | D | ELECTRICAL | [7 empty] | 0
[8 empty] | D1 | ENGINE PANEL |  |  | D3 | SWITCHGEAR
A2. |  |  | 30% DISCOUNT - CAT ITEM | [7 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
[11 empty] | 0 | [5 empty] | 0
| EX FACTORY LIST |  |  |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| ESCALATION EX FACTORY |  |  |  |  | 0 |  | D2 | REMOTE CONTROL |  |  | D6 | MOTOR CONTROL
| EX FACTORY NETT (WITH 30% DISC) |  |  |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0
A3 |  |  | NETT ITEMS | [7 empty] | 0 | [5 empty] | 0
| CONTINU_I |  | CONTINUOUS POWER APPLICATION | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| 60H0480_I |  | VOLTAGE INDICATOR 480V (WYE) | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| MSPETPG_I |  | PETRO LAND PRODUCTION / PMPING | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| MSCPB32_I |  | LAND PRODUCTION PRIME GENSET | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| NOEUCRT_I |  | NO EU CERT REQUEST-SEE DETAILS | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| LITENGO_I |  | ENGLISH LITERATURE | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| TVA0003_I |  | TVA NOT PERFORMED BY CAT | 1 | N | 0 |  | D3 | SWITCHGEAR |  |  |  | TOTAL ELECTRICAL |  |  |  | 0
| TRSGEN1_I |  | GENERATOR TEST REPORT | 1 | N | 324 |  |  |  |  | 0 |  | INDONESIAN WORK SHOP
| TRSENG1_I |  | STD ENGINE TEST CHARGE 3L0436 | 1 | N | 324 |  |  |  |  | 0
| TRSGEN7_I |  | PGS TEST REPORT @ 0.8 PF | 1 | N | 324 |  |  |  |  | 0 |  | PREPARATION (PDI) |  |  |  | 1000
| TSPCSA4_I |  | CSA TEST AND CERTIFICATION | 1 | N | 0 |  |  |  |  | 0
| TSPCSA5_I |  | NEUTRAL GND CONNECTION | 1 | N | 173 |  |  |  |  | 0 |  | CAT PARTS & SERVICES (IND)
| DPX0002_I |  | DOMESTIC PACK FOR EXPORT | 1 | N | 0 |  |  |  |  | 0 | [5 empty] | 0
| SRP0014_I |  | PRESERVATION - CORROSION INHIB | 1 | N | 939 |  |  |  |  | 0 | [5 empty] | 0
| SWP0001_I |  | SHRINK WRAP PROTECTION - 3516 | 1 | N | 315 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  | D6 | MOTOR CONTROL | [7 empty] | 0
| Additional Cat Attachments - DTO Items |  |  |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V8707 |  | DTO QUOTE | 1 |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V1156 |  | QUOTE NO: 10664165 | 1 |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V3410 |  | PETROLEUM PACKAGING | 1 |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V2319 |  | DTO Oil Accumulator/CCV | 1 |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V2319 |  | TURBO OIL ACCUMULATOR 3944961 | 1 | N | 752.25 |  |  |  |  | 0 | [5 empty] | 0
| 0V2319 |  | Close Crankcase Ventilation-CCV(2003057) | 1 | L | 8358 |  |  |  |  | 0 | [5 empty] | 0
| 0V2834 |  | TESTING (STANDARD AND/OR SPECIAL) | 1 |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| 0V2319 |  | WITNESS TEST/OBSERVATION OF TEST | 1 | N | 4700 |  |  | TOTAL ELECTRICAL |  | 0 | [5 empty] | 0
| 0V2834 |  | CLARIFICATIONS/EXCEPTIONS | 1 |  | 0 |  |  | OTHER (SNG) | [7 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 | [5 empty] | 0
[6 empty] | 0 |  |  |  |  | 0 |  | TOTAL COST |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | ENGINE INSURANCE |  | 0% |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | WARRANTY |  | 0% |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | STOCK HOLDING CHARGES |  | 0% |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | TOTAL COST |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | TOTAL |  |  |  | 1000
[6 empty] | 0 |  |  |  |  | 0
[6 empty] | 0 |  |  |  |  | 0 |  | INSTALLATION
[6 empty] | 0 |  |  |  |  | 0 | TU-SERV | TESTING & COMMISSIONING |  |  |  | 15500
[6 empty] | 0 |  |  |  |  | 0 |  | PARTS COMPLETION, FAMILIARIZATION
[6 empty] | 0 |  |  |  |  | 0 |  | ENG SUPERVISION, REVISIT 500JAM
| NETT EX FACTORY |  |  |  |  | 16209.25 |  |  |  |  | 0 |  | TOTAL |  |  |  | 15500
| ESCALATION EX FACTORY |  |  |  |  | 16209.25 |  |  |  |  | 0 |  | OTHER (IND)
TOTAL COST EX FACTORY | [5 empty] | 445104.15 |  |  |  |  | 0 | [5 empty] | 0
| FORWARDING CHARGES |  |  |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0
| SEA FREIGHT TO SINGAPORE |  |  |  |  | 0 |  |  |  |  | 0 | TU-SERV | FAT - 1 LOT / 3 UNITS |  |  |  | 4000
| INSURANCE |  |  |  |  | 0 |  |  |  |  | 0 | [5 empty] | 0
[11 empty] | 0 | TU-SERV | LOCAL COMPLETION |  |  |  | 12500
LANDED SINGAPORE WHARF | [5 empty] | 445104.15 |  |  |  |  | 0 |  | OIL MAKE UP METER (SLOW FLOW METER) |  |  |  | -
[9 empty] | TOTAL OTHER (SNG) |  | 0 |  | ET TOOLS (COMPL. COMM ADAPTER & TABLET) |  |  |  | 0
|  |  | OTHER | [9 empty] | PANASONIC - TOUGHPAD FZ G1 |  |  |  | 0
[8 empty] | E | SERVICES SINGAPORE | [7 empty] | 0
B | GENERATOR/TRANSMISSION | [15 empty] | 0
[8 empty] | PREPARATION |  | 0 | 0 | [5 empty] | 0
[8 empty] | BOXING |  | 0 | 0 | [5 empty] | 0
[9 empty] | TOTAL WORKSHOP |  | 0 | [5 empty] | 0
0
[8 empty] | PRE DELIVERY SERVICE |  | 0 | 0 | [5 empty] | 0
[8 empty] | DELIVERY TO WHARF |  | 0 | 0 | [5 empty] | 0
[8 empty] | DELIVERY INSPECTION |  |  | 0 | [5 empty] | 0
[8 empty] | LOAD BANK TEST |  |  | 0 | [5 empty] | 0
| TOTAL EX FACTORY |  |  |  |  | 0 |  |  | TOTAL TRAFFIC |  | 0 |  | TOTAL OTHER (IND) |  |  |  | 16500
| GENERATOR ESCALATION |  |  |  |  | 0 |  |  | FINANCE RECOVERY CHARGES |  | 0 |  | TOTAL COST INDONESIA |  |  |  | 32000
| TOTAL GEN/TRANS SING WHARF |  |  |  |  | 0
| ENGINE & GENERATOR SINGAPORE WHARF |  |  |  |  | 445104.15 |  |  | TOTAL COST FAS SING |  | 478704.15 |  | TOTAL DELIVERY DUTY PAID INDONESIA |  |  |  | 568747.4069
PRICE LIST |  |  | 2017-01-01
CTOPS |  |  | 2017-01-01 | [7 empty] | DISCOUNT
[10 empty] | LIST | 2.5% | 5% | 10% | 12.5% | 15% |  | 17.5% | 6%
SPECIAL NOTE |  | : | PRICE VALIDITY : 30 DAYS
|  |  | RTS EX FACTORY : 28 WEEKS | [5 empty] | FCA | 729577.3571 | 704419.5172 | 680938.8667 | 638380.1875 | 619035.3333 | 600828.4118 |  | 583661.8857 | 671979.1447
|  |  | CIF II : 44 WEEKS | [15 empty] | RATE 1$ : |  | 13606
|  |  | LAFAYETTE | [5 empty] | CIF I | 737715.5863 | 712277.1178 | 688534.5472 | 645501.138 | 625940.4974 | 607530.4828 |  | 590172.469 | 679474.8821
RECEIVED BY |  | : | [6 empty] | CIF II | 752469.898 | 726522.6601 | 702305.2381 | 658411.1607 | 638459.3074 | 619681.0924 |  | 601975.9184 | 693064.3797 | 9429833950.3862 |  | 1 UNIT
[9 empty] | CIF III | 759847.0538 | 733645.4313 | 709190.5836 | 664866.1721 | 644718.7123 | 625756.3973 |  | 607877.6431 | 699859.1285 | 28289501851.1585 |  | 3 UNITS
APPROVED BY |  | : | [6 empty] | DDP I | 812496.2955 | 784479.1819 | 758329.8758 | 710934.2586 | 689390.7962 | 669114.5963 |  | 649997.0364 | 748351.8512
[9 empty] | DDP II | 828746.2214 | 800168.7655 | 773496.4733 | 725152.9438 | 703178.6121 | 682496.8882 |  | 662996.9772 | 763318.8882
[9 empty] | DDP III | 836871.1844 | 808013.5574 | 781079.7721 | 732262.2864 | 710072.5201 | 689188.0342 |  | 669496.9475 | 770802.4067
[8 empty] | TIME | 0:00 | [7 empty] | FMCIF

## ISA CONFIGURATION
Quote Number
30305267
Configuration
Configuration 01 - G3516PTPL
Dealer Code
J210
DTO Quote #
10664165
Model Update Date
2017-11-17
Pricing Date
2018-07-31
Print Date
2017-11-21 14:31
Sales Person
Joko Susilo
Dealer Engineer
Consulting Engineer
Project Name
G3516_770EKW 480V 60HZ
Project Number
RIMAU BLOK_OPSI2
Project Location
Created Date
2017-06-15
Expiration Date
2017-08-14
Status
Active
Customer
Number
Attn
Address
City
State
Postal Code
Phone
Fax
External Notes
Caterpillar's Oil & Gas Power Solutions Group is pleased to offer this
quotation in response to your recent inquiry. Please refer to the
various sections of the quotation for scope of supply, pricing and
comments / exceptions. We hope this will meet your requirements and look
forward to the pleasure of your order. Please do not hesitate to contact
me at silva_anderson_m@cat.com or (19) 2106-1415 with any questions or
comments.
DTO Lines:
ADDED - 1201 0V2319 1 EA TURBO OIL ACCUMULATOR 3944961
ADDED - 1202 0V2319 1 EA Close Crankcase Ventilation-CCV(2003057)
ADDED - 1701 0V2319 1 EA WITNESS TEST/OBSERVATION OF TEST
Note: Oil level regulator is already included on standar configuration.
Line - 122 - 3961996 REGULATOR GP
EXCEPTIONS:
Caterpillar is not providing Oil make up slow flow meter.
Estimated Delivery: Please consult the Account Coordinator.
Proposal is valid for 90 days from quotation date
Unless otherwise indicated herein list price items are subject to change
due to "price in effect at time of shipment" (RTS). The dealer should
carefully take this into consideration before making the final quote to
your customer. Please refer to Caterpillar price announcements,
expected lead time and your Oil & Gas Area Manager for guidance on this
important issue.
Please disregard the estimated weight as indicated on this DTO quotation
as it may be inaccurate. After order placement, the project manager
could be contacted to provide an estimated weight for this DTO package.
Notes:
1. Delivery lead time is based on two week turn around of approval
drawings, if supplied. Delivery timeframe is also dependant on order
timeframe. Please verify delivery prior to order being placed.
2. For estimated delivery please consult with the the quoting engineer
or appropriate factory contacts.
3. Please confirm delivery by contacting the factory prior to placing
orders.
4. Please carefully review this quotation for details with regard to
drawings and data submittals. If not shown, these are not included and
may require additional charges should they be required.
Features
Feature Code | Qty | Description | Unit Price | L/N | Total Price
CONTINU_I | 1 | CONTINUOUS POWER APPLICATION | 0 | N | 0
COREARG_I | 1 | TOP LEVEL CORE ARRANGEMENT | 0 | L | 0
54DEGSC_I | 1 | 54 DEG SCAC | 0 | L | 0
KWW0770_I | 1 | 770 EKW W/O FAN (54C/130F) | 0 | L | 0
HIPRESS_I | 1 | HIGH PRESSURE GAS | 0 | L | 0
516GS47_I | 1 | G3516 LE GENSET-60HZ HPC-CORE | 421150 | L | 421150
60H0480_I | 1 | VOLTAGE INDICATOR 480V (WYE) | 0 | N | 0
MSPETPG_I | 1 | PETRO LAND PRODUCTION / PMPING | 0 | N | 0
MSCPB32_I | 1 | LAND PRODUCTION PRIME GENSET | 0 | N | 0
MWCODEE_I | 1 | PRIME POWER | 0 | L | 0
EXPTTAG_I | 1 | EXPORT TAG | 0 | L | 0
NOEUCRT_I | 1 | NO EU CERT REQUEST-SEE DETAILS | 0 | N | 0
LITENGO_I | 1 | ENGLISH LITERATURE | 0 | N | 0
OGNPMMJ_I | 1 | GENERATOR 807 FRAME PM 480V | 127788 | L | 127788
EMCPNL8_I | 1 | ELECT. MOD CONT PANEL II+ | 8894 | L | 8894
EMCMETU_I | 1 | METRIC DISPLAY UNITS | 0 | L | 0
EMCPLAR_I | 1 | PANEL LIGHTS/AUXILIARY RELAY | 203 | L | 203
NFPA099_I | 1 | NFPA 99 REQUIRMENT | 0 | L | 0
EMCAM06_I | 1 | ALARM MODULE - NFPA 99 | 929 | L | 929
EMCAM03_I | 1 | CUSTOM ALARM MODULE - 8 LIGHTS | 615 | L | 615
GOVLS08_I | 1 | 2301A LOAD SHARING GOVERNOR | 1940 | L | 1940
ASMRH28_I | 1 | AIR/GAS STARTING MOTOR RH 2 | 3803 | L | 3803
BARGP18_I | 1 | ENGINE BARRING GROUP | 214 | L | 214
ALT6011_I | 1 | CHARGING ALT - 24V - 60 AMP | 1959 | L | 1959
JWINFH0_I | 1 | JW IN CAT FLANGE-HOSE CONN | 164 | L | 164
JWOTCF0_I | 1 | JW OUT RH CAT FLANGE CONN | 287 | L | 287
TSTAT38_I | 1 | THERMOSTATIC VALVE (54 DEG C) | 552 | L | 552
EXGAG00_I | 1 | GAUGES | 556 | L | 556
GIPDT05_I | 1 | DIGITAL TACHOMETER | 294 | L | 294
GIPAWP1_I | 1 | AUX. WATER PRESSURE GAUGE | 471 | L | 471
OILPN04_I | 1 | STANDARD OIL PAN | 4997 | L | 4997
AIRPP23_I | 1 | AIR PRELUBE PUMP | 2595 | L | 2595
DOFRH06_I | 1 | DUPLEX OIL FILTER-RH | 4604 | L | 4604
OLVLRG9_I | 1 | OIL LEVEL REGULATOR-STD PAN | 542 | L | 542
OILDRN6_I | 1 | OIL PAN DRAIN VLV/11 1/2NPTF/2 | 111 | L | 111
SPMPL16_I | 1 | SUMP PUMP LH - STD PAN | 714 | L | 714
LUBOILU_I | 1 | LUBRICATING OIL-ULTRA-STD PAN | 2359 | L | 2359
NSSDG01_I | 1 | NO STUB SHAFT - DAMPER GUARD | 283 | L | 283
EXRVL24_I | 1 | EXPLOS RELIEF VALVE-STD PAN 1 | 1264 | L | 1264
APRRH01_N | 1 | AIR PRESSURE REGULATOR RH | 797 | L | 797
EASCRH3_I | 1 | ELECTRIC AIR SRT CONTROL RH 1 | 471 | L | 471
JWH0110_I | 1 | JACKET WATER HEATER | 1618 | L | 1618
AIARO01_S | 1 | AIR INLET ADAPTER-ROUND | 568 | L | 568
BAT2451_S | 1 | 24V BAT SET-DRY/2600CCA/QTY4 | 2462 | L | 2462
BTRCBL1_S | 1 | BATTERY CABLES/1880MM (1-2) | 164 | L | 164
BTR0022_S | 1 | 2 BATTERY RACK/FLOOR (1-2) | 187 | L | 187
EMCEFR1_I | 1 | ENGINE FAILURE RELAY | 48 | L | 48
EMCCIM1_S | 1 | CUSTOMER INTERFACE MODULE-CIM | 542 | L | 542
EMCRMP1_S | 1 | REM 8-LIGHT ANNUNCIATOR | 636 | L | 636
COLMJA2_S | 1 | MECHANICAL JOINT ASSEMBLY | 315 | L | 315
EXCEL10_S | 1 | ELBOW-254MM (10 IN) | 666 | L | 666
EXCFF40_S | 1 | FLEXIBLE FITTING/203MM/8IN | 426 | L | 426
EXHEX11_S | 1 | FLANGE & EXH EXP/203 TO 254MM | 1420 | L | 1420
MUFSA04_S | 1 | MUFFLER-SPARK/20DBA/10IN | 2475 | L | 2475
FULFL14_S | 1 | FUEL FILTER | 9431 | L | 9431
RTD0001_I | 1 | BEARING TEMPERATURE RTD/PLAT | 430 | L | 430
MVC0003_I | 1 | MANUAL VOLTAGE CONTROL | 741 | L | 741
SHREL01_I | 1 | SPACE HEATER RELAY | 96 | L | 96
EMCDV01_I | 1 | DUAL VOLTAGE CAPABILITY | 0 | L | 0
EMCDP01_I | 1 | DUST-PROOF ENCLOSURE | 101 | L | 101
VIBIS05_S | 1 | VIBRATION ISOLATORS | 1263 | L | 1263
SOV2403_S | 1 | GAS SHUTOFF VALVE | 562 | L | 562
TVA0003_I | 1 | TVA NOT PERFORMED BY CAT | 0 | N | 0
TRSGEN1_I | 1 | GENERATOR TEST REPORT | 324 | N | 324
TRSENG1_I | 1 | STD ENGINE TEST CHARGE 3L0436 | 324 | N | 324
TRSGEN7_I | 1 | PGS TEST REPORT @ 0.8 PF | 324 | N | 324
TSPCSA4_I | 1 | CSA TEST AND CERTIFICATION | 0 | N | 0
TSPCSA5_I | 1 | NEUTRAL GND CONNECTION | 173 | N | 173
DPX0002_I | 1 | DOMESTIC PACK FOR EXPORT | 0 | N | 0
SRP0014_I | 1 | PRESERVATION - CORROSION INHIB | 939 | N | 939
SWP0001_I | 1 | SHRINK WRAP PROTECTION - 3516 | 315 | N | 315
|  | USD List Total |  |  | 612707
|  | USD Net Total |  |  | 2399
Additional Cat Attachments
Part Number | Less Off | Qty | Description | Unit Price | Weight | L/N | A/I | Total Price
0V8707 |  | 1 | DTO QUOTE | 0 | 0 |  | N | 0
0V1156 |  | 1 | QUOTE NO: 10664165 | 0 | 0 |  | N | 0
0V3410 |  | 1 | PETROLEUM PACKAGING | 0 | 0 |  | N | 0
0V2319 |  | 1 | DTO Oil Accumulator/CCV | 0 | 0 |  | I | 0
0V2319 |  | 1 | TURBO OIL ACCUMULATOR 3944961 | 752.25 | 0 | N | I | 752.25
0V2319 |  | 1 | Close Crankcase Ventilation-CCV(2003057) | 8358 | 0 | L | S | 8358
Notes:
Close Crankcase Ventilation (CCV)
POSITIVE CRANK VENTILATION
Shipped loose.
TECHNICAL: Ingestive system to return crankcase fumes to
air intake. 120-240 AC
0V2834 |  | 1 | TESTING (STANDARD AND/OR SPECIAL) | 0 | 0 |  | N | 0
0V2319 |  | 1 | WITNESS TEST/OBSERVATION OF TEST | 4700 | 0 | N | N | 4700
Notes:
"WITNESS TEST
All testing in this quote is to be performed on the engine-generator
package or the generator alone. The package will be tested with all
installed items. Ship loose items will NOT be installed for the package
testing without a separate quote to cover the cost of such activities.
Caterpillar's factory Genset tests are not intended to be complete
system tests. This quote does NOT include switchgear testing.
Due to test cell air handling capabilities, it will be necessary to
conduct package tests without the radiator installed.
Prior to the testing described herein, the engine and the generator and
the Genset package shall be pretested per their respective m
anufacturer's normal production test standards or Military Standard 705C where stated. NO OTHER TEST STANDARDS SHALL BE APPLIED TO
THE TESTING DESCRIBED IN THIS QUOTE.
Individual component testing of radiator, radiator fan, pumps, air
filters, or others will NOT be performed.
Exception is taken to any tests which are to be performed using any fuel
other than No. 2 Diesel fuel OR Natural Gas.
Exception is taken to any ""Factory Inspection"" performed at
Caterpillar that is not in Caterpillar's scope of supply.
If the engine has a DGB kit installed by CAT, testing with gas and
diesel will be done in Lafayette however Griffin will test on diesel
only.
During the tests, while the Genset is running, Customers will NOT be
allowed to enter the test cell.
This test must be ordered at least ninety (90) days prior to engine
start-on-line date.
Purchase of this quote implies acceptance of the test procedure
described herein.
Requests to modify the procedure after purchase are strongly discouraged
and may require requoting.
A certified test report will be prepared and given to you the day of
testing. If someone is unable to attend the test the report will be
emailed to you once the test has been completed.
OBSERVATION OF TEST
The dealer WILL be provided two (2) weeks# notice prior to the test
date.
The test WILL add approximately four (4) weeks to the ship date.
Caterpillar MUST be informed of the names of all who will witness the
testing, arrival times, accommodation needs, ect., at least seven (7)
days before the test date.
Purchase of this quote implies acceptance of the test procedure
described herein.
Requests to modify the procedure after purchase of the quote are
strongly discouraged, and WILL require requoting.
"
0V2834 |  | 1 | CLARIFICATIONS/EXCEPTIONS | 0 | 0 |  | N | 0
Notes:
» No specifications were provided with the quotation request. Therefore
Caterpillar does not imply compliance to any specifications and/or
requirements that may be associated with this project. The scope of
Caterpillar's supply is limited to what is contained with in this
quotation only.
» No MSC certification and/or assessment for the package is included
with this quotation. This will be the responsibility of the
Dealer/Customer. If this is required, the quotation will need to be
revised to add.
» No project specific installation drawings are included in this
quotation. If these are required, the quotation will need to be revised
to add them.
» No P&ID/electrical drawings are included in this quotation. If these
are required, the quotation will need to be revised to add them.
» No additional/special documentation is included in this quotation. If
any additional documentation/drawings/reports are required these items
will needed to be quoted.
» Caterpillar is not providing a package certificate stating this is an
Emergency
Generator set.
EXCEPTIONS:
Caterpillar is not providing Oil make up slow flow meter.
Caterpillar takes exception to all Hazardous location requirements and
specs as none were provided at the time of quoting. If any iron changes
not mentioned in this quote are required, a requote or revision to this
quote is mandatory.
[5 empty] | USD Additional Cat Total |  |  | 13810.25
Parts
Part Number | Qty | Description | Weight
G3516PTPL | 1 | G3516 PETRO PACKAGE LAFAYETTE | 0
PC0253 | 1 | G3516 LE GENSET-60HZ HPC-CORE | 0
3861569 | 1 | ENGINE AR-CORE | 0
GG5401 | 1 | 1085 BHP 770 GEN KW 60 HZ CONT WOF, LE | 0
PC1356 | 1 | GENERATOR ARRGT. 807F PM-FW | 9064.18
9Y7181 | 1 | GENERATOR 807 FRAME PM | 0
5N9597 | 1 | VOLTAGE INDICATOR 480V, 60HZ | 0
9Y8164 | 1 | CONTINUOUS POWER APPLICATION | 0
0V2788 | 1 | END USE: PETRO PRODUCTION/PUMPING | 0
0V3364 | 1 | EXPORT TAG | 0
PC1371 | 1 | ALTERNATOR-60 AMP AIR START | 68.3
PC1382 | 1 | JW STANDARD INLET | 211.11
PC1381 | 1 | JW RH FLANGE OUTLET | 8.64
4202422 | 1 | MTG GP - VALVE | 237.51
PC2558 | 1 | ELECT MODULAR CONT PANEL II+ | 0
1669270 | 1 | GOVERNOR GP-EMCPII (2301A) | 22.74
3571662 | 1 | CERTIFICATION GP | 0
1079019 | 1 | DIGITAL TACHOMETER | 1.34
4472765 | 1 | GAUGE GP | 3.52
5P2506 | 1 | LITERATURE - ENGLISH | 0
PC1360 | 1 | AIR PRELUBE PUMP | 120.6
PC1384 | 1 | DUPLEX OIL FILTER-RH SERVICE | 60.5
3961996 | 1 | REGULATOR GP | 15.25
PC1386 | 1 | STD OIL PAN | 740.57
3794844 | 1 | OIL PAN DRAIN VALVE | 3.89
PC1388 | 1 | SUMP PUMP LH-STD PAN | 34
LA6090 | 1 | ULTRA 40 OIL - 416 LITERS | 0
PC1675 | 1 | DAMPER GUARD NO SS | 0
3943372 | 1 | COVER GP-CYL BLK | 77.01
PC1860 | 1 | 150 PSI AIR STARTER FUW AIR PRELUBE | 0
PC1635 | 1 | BARRING GP LH | 6.63
1543853 | 1 | ELECTRIC AIR START CONTROL RH | 5
PC1397 | 1 | JACKET WATER HEATER-SINGLE | 0
3843631 | 1 | ADAPTER GP - ACL | 29.8
PC1909 | 1 | JOINT ASSEMBLY SHIPPED LOOSE | 86.89
3843623 | 1 | FLEXIBLE FITTING | 18.57
5N2458 | 1 | ELBOW, 254 MM (10 IN) | 53.88
PC1348 | 1 | FLANGE AND EXHAUST EXPANDER | 44.55
1520596 | 1 | MUFFLER | 329.05
3266199 | 1 | FILTER AS | 235.4
6I4906 | 1 | BEARING TEMPERATURE RTD | 2.2
5N0591 | 1 | MANUAL VOLTAGE CONTROL | 18.7
2210752 | 1 | SPACE HEATER RELAY | 0.24
1232861 | 1 | DUAL VOLTAGE CAPABILITY | 2.2
1214705 | 1 | DUST-PROOF CONTROL PANEL | 4.4
5N8877 | 1 | VIBRATION ISOLATORS | 145.45
1030692 | 1 | VALVE GP - SOLENOID | 5.5
3775904 | 1 | VALVE GP-AIR | 22.7
PC1341 | 1 | 24 VOLT BATTERY SET - DRY | 0
7W0825 | 1 | BATTERY CABLES | 6.29
3810686 | 1 | SUPPORT GP - BATTERY | 32.57
0P1530 | 1 | GENERATOR TEST REPORT | 0
0P1852 | 1 | STD ENGINE TEST CHARGE 3L0436 | 0
0P1793 | 1 | ###GEN SET TEST CHG @ 0.8 PF### | 0
LA1330 | 1 | CSA TEST AND CERTIFICATION | 0
1219480 | 1 | NEUTRAL GROUNDING CONNECTION | 3.86
0P1914 | 1 | DOMESTIC PACK FOR EXPORT | 0
0P7607 | 1 | SHRINK WRAP PROTECTION - 3516 | 0
1453211 | 1 | PRESERVATION GP ENGINE - 3516 | 0
1214714 | 1 | METRIC DISPLAY UNITS | 0
1214712 | 1 | PANEL LIGHTS/AUXILIARY RELAY | 3.38
1214716 | 1 | ALARM MODULE - NFPA 99 | 2
1879372 | 1 | MODULE GP | 4.33
1341157 | 1 | ENGINE FAILURE RELAY | 2.21
9Y6496 | 1 | CUSTOMER INTERFACE MODULE-CIM | 10.67
7C5296 | 1 | REM. ANNUNCIATOR PANEL-8 LIGHT | 6.96
PC2562 | 1 | GAUGES | 0
Caterpillar USD List Subtotal | 621065
Caterpillar USD Net Subtotal | 7851.25
Quote Pricing Information - 30305267
Configuration - Configuration 01
DTO Quote # - 0010664165
Caterpillar Factory Costs
Total Configuration List Price
612707
Additional Attachments List Price
8358
% Escalation
0%
0
% Discount
30%
186319.5
Dealer Net Price
434745.5
Local Cost Summary
| Exchange Rate (USD/USD) |  | 1
Local Net Price
442596.75
Local Freight Inland
0
Freight Local
0
Local Duty Percent
0%
0
Local Tax Percent
0%
0
Add'l Discounts: (% List Price w/o Escalation)
Local Components
Local Attachment
This Configuration has No Local Attachments
Total Local Cost
0
Adjusted Net Price
434745.5
Net Items
7851.25
CAT Freight
Freight:
Inland
0
Port
0
Ocean
0
Other
0
Handling Fee NIC
0
Tax
0
Dealer Components
Dealer Attachments
This Configuration has No Dealer Attachments
Total Dealer Cost
0
Labor Attachment
This Configuration has No Labor Attachments
Total Labor Cost
0
Quote Level Attachments
0
Est. Total CAT Weight
11752.59 lbs
Est. Total Non-CAT Weight
0 lbs
Est. Total Weight
11752.59 lbs
Factory Net Price Total
442596.75
TOTAL NON-CAT
0
TOTAL PROJECT COST
442596.75
Gross Profit Percent
10%
Exchange Rate Used
1
End Customer Sell Price
491774.17
End Customer Currency
USD
SYSTEM GENERATED QUOTATION PRICE
491774.17
System Generated Gross Profit
49177.42
System Generated % Gross Profit
10%

## ISA CONFIGURATION (1)
Quote Number
30305267
Configuration
Configuration 01 - G3516PTPL
Dealer Code
J210
DTO Quote #
10664165
Model Update Date
2017-11-17
Pricing Date
2018-07-31
Print Date
2017-11-21 14:31
Sales Person
Joko Susilo
Dealer Engineer
Consulting Engineer
Project Name
G3516_770EKW 480V 60HZ
Project Number
RIMAU BLOK_OPSI2
Project Location
Created Date
2017-06-15
Expiration Date
2017-08-14
Status
Active
Customer
Number
Attn
Address
City
State
Postal Code
Phone
Fax
External Notes
Caterpillar's Oil & Gas Power Solutions Group is pleased to offer this
quotation in response to your recent inquiry. Please refer to the
various sections of the quotation for scope of supply, pricing and
comments / exceptions. We hope this will meet your requirements and look
forward to the pleasure of your order. Please do not hesitate to contact
me at silva_anderson_m@cat.com or (19) 2106-1415 with any questions or
comments.
DTO Lines:
ADDED - 1201 0V2319 1 EA TURBO OIL ACCUMULATOR 3944961
ADDED - 1202 0V2319 1 EA Close Crankcase Ventilation-CCV(2003057)
ADDED - 1701 0V2319 1 EA WITNESS TEST/OBSERVATION OF TEST
Note: Oil level regulator is already included on standar configuration.
Line - 122 - 3961996 REGULATOR GP
EXCEPTIONS:
Caterpillar is not providing Oil make up slow flow meter.
Estimated Delivery: Please consult the Account Coordinator.
Proposal is valid for 90 days from quotation date
Unless otherwise indicated herein list price items are subject to change
due to "price in effect at time of shipment" (RTS). The dealer should
carefully take this into consideration before making the final quote to
your customer. Please refer to Caterpillar price announcements,
expected lead time and your Oil & Gas Area Manager for guidance on this
important issue.
Please disregard the estimated weight as indicated on this DTO quotation
as it may be inaccurate. After order placement, the project manager
could be contacted to provide an estimated weight for this DTO package.
Notes:
1. Delivery lead time is based on two week turn around of approval
drawings, if supplied. Delivery timeframe is also dependant on order
timeframe. Please verify delivery prior to order being placed.
2. For estimated delivery please consult with the the quoting engineer
or appropriate factory contacts.
3. Please confirm delivery by contacting the factory prior to placing
orders.
4. Please carefully review this quotation for details with regard to
drawings and data submittals. If not shown, these are not included and
may require additional charges should they be required.
Features
Feature Code | Qty | Description | Unit Price | L/N | Total Price
CONTINU_I | 1 | CONTINUOUS POWER APPLICATION | 0 | N | 0
COREARG_I | 1 | TOP LEVEL CORE ARRANGEMENT | 0 | L | 0
54DEGSC_I | 1 | 54 DEG SCAC | 0 | L | 0
KWW0770_I | 1 | 770 EKW W/O FAN (54C/130F) | 0 | L | 0
HIPRESS_I | 1 | HIGH PRESSURE GAS | 0 | L | 0
516GS47_I | 1 | G3516 LE GENSET-60HZ HPC-CORE | 421150 | L | 421150
60H0480_I | 1 | VOLTAGE INDICATOR 480V (WYE) | 0 | N | 0
MSPETPG_I | 1 | PETRO LAND PRODUCTION / PMPING | 0 | N | 0
MSCPB32_I | 1 | LAND PRODUCTION PRIME GENSET | 0 | N | 0
MWCODEE_I | 1 | PRIME POWER | 0 | L | 0
EXPTTAG_I | 1 | EXPORT TAG | 0 | L | 0
NOEUCRT_I | 1 | NO EU CERT REQUEST-SEE DETAILS | 0 | N | 0
LITENGO_I | 1 | ENGLISH LITERATURE | 0 | N | 0
OGNPMMJ_I | 1 | GENERATOR 807 FRAME PM 480V | 127788 | L | 127788
EMCPNL8_I | 1 | ELECT. MOD CONT PANEL II+ | 8894 | L | 8894
EMCMETU_I | 1 | METRIC DISPLAY UNITS | 0 | L | 0
EMCPLAR_I | 1 | PANEL LIGHTS/AUXILIARY RELAY | 203 | L | 203
NFPA099_I | 1 | NFPA 99 REQUIRMENT | 0 | L | 0
EMCAM06_I | 1 | ALARM MODULE - NFPA 99 | 929 | L | 929
EMCAM03_I | 1 | CUSTOM ALARM MODULE - 8 LIGHTS | 615 | L | 615
GOVLS08_I | 1 | 2301A LOAD SHARING GOVERNOR | 1940 | L | 1940
ASMRH28_I | 1 | AIR/GAS STARTING MOTOR RH 2 | 3803 | L | 3803
BARGP18_I | 1 | ENGINE BARRING GROUP | 214 | L | 214
ALT6011_I | 1 | CHARGING ALT - 24V - 60 AMP | 1959 | L | 1959
JWINFH0_I | 1 | JW IN CAT FLANGE-HOSE CONN | 164 | L | 164
JWOTCF0_I | 1 | JW OUT RH CAT FLANGE CONN | 287 | L | 287
TSTAT38_I | 1 | THERMOSTATIC VALVE (54 DEG C) | 552 | L | 552
EXGAG00_I | 1 | GAUGES | 556 | L | 556
GIPDT05_I | 1 | DIGITAL TACHOMETER | 294 | L | 294
GIPAWP1_I | 1 | AUX. WATER PRESSURE GAUGE | 471 | L | 471
OILPN04_I | 1 | STANDARD OIL PAN | 4997 | L | 4997
AIRPP23_I | 1 | AIR PRELUBE PUMP | 2595 | L | 2595
DOFRH06_I | 1 | DUPLEX OIL FILTER-RH | 4604 | L | 4604
OLVLRG9_I | 1 | OIL LEVEL REGULATOR-STD PAN | 542 | L | 542
OILDRN6_I | 1 | OIL PAN DRAIN VLV/11 1/2NPTF/2 | 111 | L | 111
SPMPL16_I | 1 | SUMP PUMP LH - STD PAN | 714 | L | 714
LUBOILU_I | 1 | LUBRICATING OIL-ULTRA-STD PAN | 2359 | L | 2359
NSSDG01_I | 1 | NO STUB SHAFT - DAMPER GUARD | 283 | L | 283
EXRVL24_I | 1 | EXPLOS RELIEF VALVE-STD PAN 1 | 1264 | L | 1264
APRRH01_N | 1 | AIR PRESSURE REGULATOR RH | 797 | L | 797
EASCRH3_I | 1 | ELECTRIC AIR SRT CONTROL RH 1 | 471 | L | 471
JWH0110_I | 1 | JACKET WATER HEATER | 1618 | L | 1618
AIARO01_S | 1 | AIR INLET ADAPTER-ROUND | 568 | L | 568
BAT2451_S | 1 | 24V BAT SET-DRY/2600CCA/QTY4 | 2462 | L | 2462
BTRCBL1_S | 1 | BATTERY CABLES/1880MM (1-2) | 164 | L | 164
BTR0022_S | 1 | 2 BATTERY RACK/FLOOR (1-2) | 187 | L | 187
EMCEFR1_I | 1 | ENGINE FAILURE RELAY | 48 | L | 48
EMCCIM1_S | 1 | CUSTOMER INTERFACE MODULE-CIM | 542 | L | 542
EMCRMP1_S | 1 | REM 8-LIGHT ANNUNCIATOR | 636 | L | 636
COLMJA2_S | 1 | MECHANICAL JOINT ASSEMBLY | 315 | L | 315
EXCEL10_S | 1 | ELBOW-254MM (10 IN) | 666 | L | 666
EXCFF40_S | 1 | FLEXIBLE FITTING/203MM/8IN | 426 | L | 426
EXHEX11_S | 1 | FLANGE & EXH EXP/203 TO 254MM | 1420 | L | 1420
MUFSA04_S | 1 | MUFFLER-SPARK/20DBA/10IN | 2475 | L | 2475
FULFL14_S | 1 | FUEL FILTER | 9431 | L | 9431
RTD0001_I | 1 | BEARING TEMPERATURE RTD/PLAT | 430 | L | 430
MVC0003_I | 1 | MANUAL VOLTAGE CONTROL | 741 | L | 741
SHREL01_I | 1 | SPACE HEATER RELAY | 96 | L | 96
EMCDV01_I | 1 | DUAL VOLTAGE CAPABILITY | 0 | L | 0
EMCDP01_I | 1 | DUST-PROOF ENCLOSURE | 101 | L | 101
VIBIS05_S | 1 | VIBRATION ISOLATORS | 1263 | L | 1263
SOV2403_S | 1 | GAS SHUTOFF VALVE | 562 | L | 562
TVA0003_I | 1 | TVA NOT PERFORMED BY CAT | 0 | N | 0
TRSGEN1_I | 1 | GENERATOR TEST REPORT | 324 | N | 324
TRSENG1_I | 1 | STD ENGINE TEST CHARGE 3L0436 | 324 | N | 324
TRSGEN7_I | 1 | PGS TEST REPORT @ 0.8 PF | 324 | N | 324
TSPCSA4_I | 1 | CSA TEST AND CERTIFICATION | 0 | N | 0
TSPCSA5_I | 1 | NEUTRAL GND CONNECTION | 173 | N | 173
DPX0002_I | 1 | DOMESTIC PACK FOR EXPORT | 0 | N | 0
SRP0014_I | 1 | PRESERVATION - CORROSION INHIB | 939 | N | 939
SWP0001_I | 1 | SHRINK WRAP PROTECTION - 3516 | 315 | N | 315
|  | USD List Total |  |  | 612707
|  | USD Net Total |  |  | 2399
Additional Cat Attachments
Part Number | Qty | Description | Unit Price | L/N | Total Price | Weight | A/I | Less Off
0V8707 | 1 | DTO QUOTE | 0 |  | 0 | 0 | N
0V1156 | 1 | QUOTE NO: 10664165 | 0 |  | 0 | 0 | N
0V3410 | 1 | PETROLEUM PACKAGING | 0 |  | 0 | 0 | N
0V2319 | 1 | DTO Oil Accumulator/CCV | 0 |  | 0 | 0 | I
0V2319 | 1 | TURBO OIL ACCUMULATOR 3944961 | 752.25 | N | 752.25 | 0 | I
0V2319 | 1 | Close Crankcase Ventilation-CCV(2003057) | 8358 | L | 8358 | 0 | S
Notes:
Close Crankcase Ventilation (CCV)
POSITIVE CRANK VENTILATION
Shipped loose.
TECHNICAL: Ingestive system to return crankcase fumes to
air intake. 120-240 AC
0V2834 | 1 | TESTING (STANDARD AND/OR SPECIAL) | 0 |  | 0 | 0 | N
0V2319 | 1 | WITNESS TEST/OBSERVATION OF TEST | 4700 | N | 4700 | 0 | N
Notes:
"WITNESS TEST
All testing in this quote is to be performed on the engine-generator
package or the generator alone. The package will be tested with all
installed items. Ship loose items will NOT be installed for the package
testing without a separate quote to cover the cost of such activities.
Caterpillar's factory Genset tests are not intended to be complete
system tests. This quote does NOT include switchgear testing.
Due to test cell air handling capabilities, it will be necessary to
conduct package tests without the radiator installed.
Prior to the testing described herein, the engine and the generator and
the Genset package shall be pretested per their respective m
anufacturer's normal production test standards or Military Standard 705C
where stated. NO OTHER TEST STANDARDS SHALL BE APPLIED TO
THE TESTING DESCRIBED IN THIS QUOTE.
Individual component testing of radiator, radiator fan, pumps, air
filters, or others will NOT be performed.
Exception is taken to any tests which are to be performed using any fuel
other than No. 2 Diesel fuel OR Natural Gas.
Exception is taken to any ""Factory Inspection"" performed at
Caterpillar that is not in Caterpillar's scope of supply.
If the engine has a DGB kit installed by CAT, testing with gas and
diesel will be done in Lafayette however Griffin will test on diesel
only.
During the tests, while the Genset is running, Customers will NOT be
allowed to enter the test cell.
This test must be ordered at least ninety (90) days prior to engine
start-on-line date.
Purchase of this quote implies acceptance of the test procedure
described herein.
Requests to modify the procedure after purchase are strongly discouraged
and may require requoting.
A certified test report will be prepared and given to you the day of
testing. If someone is unable to attend the test the report will be
emailed to you once the test has been completed.
OBSERVATION OF TEST
The dealer WILL be provided two (2) weeks# notice prior to the test
date.
The test WILL add approximately four (4) weeks to the ship date.
Caterpillar MUST be informed of the names of all who will witness the
testing, arrival times, accommodation needs, ect., at least seven (7)
days before the test date.
Purchase of this quote implies acceptance of the test procedure
described herein.
Requests to modify the procedure after purchase of the quote are
strongly discouraged, and WILL require requoting.
"
0V2834 | 1 | CLARIFICATIONS/EXCEPTIONS | 0 |  | 0 | 0 | N
Notes:
» No specifications were provided with the quotation request. Therefore
Caterpillar does not imply compliance to any specifications and/or
requirements that may be associated with this project. The scope of
Caterpillar's supply is limited to what is contained with in this
quotation only.
» No MSC certification and/or assessment for the package is included
with this quotation. This will be the responsibility of the
Dealer/Customer. If this is required, the quotation will need to be
revised to add.
» No project specific installation drawings are included in this
quotation. If these are required, the quotation will need to be revised
to add them.
» No P&ID/electrical drawings are included in this quotation. If these
are required, the quotation will need to be revised to add them.
» No additional/special documentation is included in this quotation. If
any additional documentation/drawings/reports are required these items
will needed to be quoted.
» Caterpillar is not providing a package certificate stating this is an
Emergency
Generator set.
EXCEPTIONS:
Caterpillar is not providing Oil make up slow flow meter.
Caterpillar takes exception to all Hazardous location requirements and
specs as none were provided at the time of quoting. If any iron changes
not mentioned in this quote are required, a requote or revision to this
quote is mandatory.
|  |  | USD Additional Cat Total |  | 13810.25
Parts
Part Number | Qty |  |  | Description | Weight
G3516PTPL | 1 |  |  | G3516 PETRO PACKAGE LAFAYETTE | 0
PC0253 | 1 |  |  | G3516 LE GENSET-60HZ HPC-CORE | 0
3861569 | 1 |  |  | ENGINE AR-CORE | 0
GG5401 | 1 |  |  | 1085 BHP 770 GEN KW 60 HZ CONT WOF, LE | 0
PC1356 | 1 |  |  | GENERATOR ARRGT. 807F PM-FW | 9064.18
9Y7181 | 1 |  |  | GENERATOR 807 FRAME PM | 0
5N9597 | 1 |  |  | VOLTAGE INDICATOR 480V, 60HZ | 0
9Y8164 | 1 |  |  | CONTINUOUS POWER APPLICATION | 0
0V2788 | 1 |  |  | END USE: PETRO PRODUCTION/PUMPING | 0
0V3364 | 1 |  |  | EXPORT TAG | 0
PC1371 | 1 |  |  | ALTERNATOR-60 AMP AIR START | 68.3
PC1382 | 1 |  |  | JW STANDARD INLET | 211.11
PC1381 | 1 |  |  | JW RH FLANGE OUTLET | 8.64
4202422 | 1 |  |  | MTG GP - VALVE | 237.51
PC2558 | 1 |  |  | ELECT MODULAR CONT PANEL II+ | 0
1669270 | 1 |  |  | GOVERNOR GP-EMCPII (2301A) | 22.74
3571662 | 1 |  |  | CERTIFICATION GP | 0
1079019 | 1 |  |  | DIGITAL TACHOMETER | 1.34
4472765 | 1 |  |  | GAUGE GP | 3.52
5P2506 | 1 |  |  | LITERATURE - ENGLISH | 0
PC1360 | 1 |  |  | AIR PRELUBE PUMP | 120.6
PC1384 | 1 |  |  | DUPLEX OIL FILTER-RH SERVICE | 60.5
3961996 | 1 |  |  | REGULATOR GP | 15.25
PC1386 | 1 |  |  | STD OIL PAN | 740.57
3794844 | 1 |  |  | OIL PAN DRAIN VALVE | 3.89
PC1388 | 1 |  |  | SUMP PUMP LH-STD PAN | 34
LA6090 | 1 |  |  | ULTRA 40 OIL - 416 LITERS | 0
PC1675 | 1 |  |  | DAMPER GUARD NO SS | 0
3943372 | 1 |  |  | COVER GP-CYL BLK | 77.01
PC1860 | 1 |  |  | 150 PSI AIR STARTER FUW AIR PRELUBE | 0
PC1635 | 1 |  |  | BARRING GP LH | 6.63
1543853 | 1 |  |  | ELECTRIC AIR START CONTROL RH | 5
PC1397 | 1 |  |  | JACKET WATER HEATER-SINGLE | 0
3843631 | 1 |  |  | ADAPTER GP - ACL | 29.8
PC1909 | 1 |  |  | JOINT ASSEMBLY SHIPPED LOOSE | 86.89
3843623 | 1 |  |  | FLEXIBLE FITTING | 18.57
5N2458 | 1 |  |  | ELBOW, 254 MM (10 IN) | 53.88
PC1348 | 1 |  |  | FLANGE AND EXHAUST EXPANDER | 44.55
1520596 | 1 |  |  | MUFFLER | 329.05
3266199 | 1 |  |  | FILTER AS | 235.4
6I4906 | 1 |  |  | BEARING TEMPERATURE RTD | 2.2
5N0591 | 1 |  |  | MANUAL VOLTAGE CONTROL | 18.7
2210752 | 1 |  |  | SPACE HEATER RELAY | 0.24
1232861 | 1 |  |  | DUAL VOLTAGE CAPABILITY | 2.2
1214705 | 1 |  |  | DUST-PROOF CONTROL PANEL | 4.4
5N8877 | 1 |  |  | VIBRATION ISOLATORS | 145.45
1030692 | 1 |  |  | VALVE GP - SOLENOID | 5.5
3775904 | 1 |  |  | VALVE GP-AIR | 22.7
PC1341 | 1 |  |  | 24 VOLT BATTERY SET - DRY | 0
7W0825 | 1 |  |  | BATTERY CABLES | 6.29
3810686 | 1 |  |  | SUPPORT GP - BATTERY | 32.57
0P1530 | 1 |  |  | GENERATOR TEST REPORT | 0
0P1852 | 1 |  |  | STD ENGINE TEST CHARGE 3L0436 | 0
0P1793 | 1 |  |  | ###GEN SET TEST CHG @ 0.8 PF### | 0
LA1330 | 1 |  |  | CSA TEST AND CERTIFICATION | 0
1219480 | 1 |  |  | NEUTRAL GROUNDING CONNECTION | 3.86
0P1914 | 1 |  |  | DOMESTIC PACK FOR EXPORT | 0
0P7607 | 1 |  |  | SHRINK WRAP PROTECTION - 3516 | 0
1453211 | 1 |  |  | PRESERVATION GP ENGINE - 3516 | 0
1214714 | 1 |  |  | METRIC DISPLAY UNITS | 0
1214712 | 1 |  |  | PANEL LIGHTS/AUXILIARY RELAY | 3.38
1214716 | 1 |  |  | ALARM MODULE - NFPA 99 | 2
1879372 | 1 |  |  | MODULE GP | 4.33
1341157 | 1 |  |  | ENGINE FAILURE RELAY | 2.21
9Y6496 | 1 |  |  | CUSTOMER INTERFACE MODULE-CIM | 10.67
7C5296 | 1 |  |  | REM. ANNUNCIATOR PANEL-8 LIGHT | 6.96
PC2562 | 1 |  |  | GAUGES | 0
Caterpillar USD List Subtotal | 621065
Caterpillar USD Net Subtotal | 7851.25
Quote Pricing Information - 30305267
Configuration - Configuration 01
DTO Quote # - 0010664165
Caterpillar Factory Costs
Total Configuration List Price
612707
Additional Attachments List Price
8358
% Escalation
0%
0
% Discount
30%
186319.5
Dealer Net Price
434745.5
Local Cost Summary
| Exchange Rate (USD/USD) |  |  |  | 1
Local Net Price
442596.75
Local Freight Inland
0
Freight Local
0
Local Duty Percent
0%
0
Local Tax Percent
0%
0
Add'l Discounts: (% List Price w/o Escalation)
Local Components
Local Attachment
This Configuration has No Local Attachments
Total Local Cost
0
Adjusted Net Price
434745.5
Net Items
7851.25
CAT Freight
Freight:
Inland
0
Port
0
Ocean
0
Other
0
Handling Fee NIC
0
Tax
0
Dealer Components
Dealer Attachments
This Configuration has No Dealer Attachments
Total Dealer Cost
0
Labor Attachment
This Configuration has No Labor Attachments
Total Labor Cost
0
Quote Level Attachments
0
Est. Total CAT Weight
11752.59 lbs
Est. Total Non-CAT Weight
0 lbs
Est. Total Weight
11752.59 lbs
Factory Net Price Total
442596.75
TOTAL NON-CAT
0
TOTAL PROJECT COST
442596.75
Gross Profit Percent
10%
Exchange Rate Used
1
End Customer Sell Price
491774.17
End Customer Currency
USD
SYSTEM GENERATED QUOTATION PRICE
491774.17
System Generated Gross Profit
49177.42
System Generated % Gross Profit
10%

## ISA CONFIGURATION (2)
Quote Number
30305267
Configuration
Configuration 01 - G3516PTPL
Dealer Code
J210
DTO Quote #
10664165
Model Update Date
2017-11-17
Pricing Date
2018-07-31
Print Date
2017-11-21 14:31
Sales Person
Joko Susilo
Dealer Engineer
Consulting Engineer
Project Name
G3516_770EKW 480V 60HZ
Project Number
RIMAU BLOK_OPSI2
Project Location
Created Date
2017-06-15
Expiration Date
2017-08-14
Status
Active
Customer
Number
Attn
Address
City
State
Postal Code
Phone
Fax
External Notes
Caterpillar's Oil & Gas Power Solutions Group is pleased to offer this
quotation in response to your recent inquiry. Please refer to the
various sections of the quotation for scope of supply, pricing and
comments / exceptions. We hope this will meet your requirements and look
forward to the pleasure of your order. Please do not hesitate to contact
me at silva_anderson_m@cat.com or (19) 2106-1415 with any questions or
comments.
DTO Lines:
ADDED - 1201 0V2319 1 EA TURBO OIL ACCUMULATOR 3944961
ADDED - 1202 0V2319 1 EA Close Crankcase Ventilation-CCV(2003057)
ADDED - 1701 0V2319 1 EA WITNESS TEST/OBSERVATION OF TEST
Note: Oil level regulator is already included on standar configuration.
Line - 122 - 3961996 REGULATOR GP
EXCEPTIONS:
Caterpillar is not providing Oil make up slow flow meter.
Estimated Delivery: Please consult the Account Coordinator.
Proposal is valid for 90 days from quotation date
Unless otherwise indicated herein list price items are subject to change
due to "price in effect at time of shipment" (RTS). The dealer should
carefully take this into consideration before making the final quote to
your customer. Please refer to Caterpillar price announcements,
expected lead time and your Oil & Gas Area Manager for guidance on this
important issue.
Please disregard the estimated weight as indicated on this DTO quotation
as it may be inaccurate. After order placement, the project manager
could be contacted to provide an estimated weight for this DTO package.
Notes:
1. Delivery lead time is based on two week turn around of approval
drawings, if supplied. Delivery timeframe is also dependant on order
timeframe. Please verify delivery prior to order being placed.
2. For estimated delivery please consult with the the quoting engineer
or appropriate factory contacts.
3. Please confirm delivery by contacting the factory prior to placing
orders.
4. Please carefully review this quotation for details with regard to
drawings and data submittals. If not shown, these are not included and
may require additional charges should they be required.
Features
Feature Code | Description | Qty | L/N | Total Price | Unit Price
COREARG_I | TOP LEVEL CORE ARRANGEMENT | 1 | L | 0 | 0
54DEGSC_I | 54 DEG SCAC | 1 | L | 0 | 0
KWW0770_I | 770 EKW W/O FAN (54C/130F) | 1 | L | 0 | 0
HIPRESS_I | HIGH PRESSURE GAS | 1 | L | 0 | 0
516GS47_I | G3516 LE GENSET-60HZ HPC-CORE | 1 | L | 421150 | 421150
MWCODEE_I | PRIME POWER | 1 | L | 0 | 0
EXPTTAG_I | EXPORT TAG | 1 | L | 0 | 0
OGNPMMJ_I | GENERATOR 807 FRAME PM 480V | 1 | L | 127788 | 127788
EMCPNL8_I | ELECT. MOD CONT PANEL II+ | 1 | L | 8894 | 8894
EMCMETU_I | METRIC DISPLAY UNITS | 1 | L | 0 | 0
EMCPLAR_I | PANEL LIGHTS/AUXILIARY RELAY | 1 | L | 203 | 203
NFPA099_I | NFPA 99 REQUIRMENT | 1 | L | 0 | 0
EMCAM06_I | ALARM MODULE - NFPA 99 | 1 | L | 929 | 929
EMCAM03_I | CUSTOM ALARM MODULE - 8 LIGHTS | 1 | L | 615 | 615
GOVLS08_I | 2301A LOAD SHARING GOVERNOR | 1 | L | 1940 | 1940
ASMRH28_I | AIR/GAS STARTING MOTOR RH 2 | 1 | L | 3803 | 3803
BARGP18_I | ENGINE BARRING GROUP | 1 | L | 214 | 214
ALT6011_I | CHARGING ALT - 24V - 60 AMP | 1 | L | 1959 | 1959
JWINFH0_I | JW IN CAT FLANGE-HOSE CONN | 1 | L | 164 | 164
JWOTCF0_I | JW OUT RH CAT FLANGE CONN | 1 | L | 287 | 287
TSTAT38_I | THERMOSTATIC VALVE (54 DEG C) | 1 | L | 552 | 552
EXGAG00_I | GAUGES | 1 | L | 556 | 556
GIPDT05_I | DIGITAL TACHOMETER | 1 | L | 294 | 294
GIPAWP1_I | AUX. WATER PRESSURE GAUGE | 1 | L | 471 | 471
OILPN04_I | STANDARD OIL PAN | 1 | L | 4997 | 4997
AIRPP23_I | AIR PRELUBE PUMP | 1 | L | 2595 | 2595
DOFRH06_I | DUPLEX OIL FILTER-RH | 1 | L | 4604 | 4604
OLVLRG9_I | OIL LEVEL REGULATOR-STD PAN | 1 | L | 542 | 542
OILDRN6_I | OIL PAN DRAIN VLV/11 1/2NPTF/2 | 1 | L | 111 | 111
SPMPL16_I | SUMP PUMP LH - STD PAN | 1 | L | 714 | 714
LUBOILU_I | LUBRICATING OIL-ULTRA-STD PAN | 1 | L | 2359 | 2359
NSSDG01_I | NO STUB SHAFT - DAMPER GUARD | 1 | L | 283 | 283
EXRVL24_I | EXPLOS RELIEF VALVE-STD PAN 1 | 1 | L | 1264 | 1264
APRRH01_N | AIR PRESSURE REGULATOR RH | 1 | L | 797 | 797
EASCRH3_I | ELECTRIC AIR SRT CONTROL RH 1 | 1 | L | 471 | 471
JWH0110_I | JACKET WATER HEATER | 1 | L | 1618 | 1618
AIARO01_S | AIR INLET ADAPTER-ROUND | 1 | L | 568 | 568
BAT2451_S | 24V BAT SET-DRY/2600CCA/QTY4 | 1 | L | 2462 | 2462
BTRCBL1_S | BATTERY CABLES/1880MM (1-2) | 1 | L | 164 | 164
BTR0022_S | 2 BATTERY RACK/FLOOR (1-2) | 1 | L | 187 | 187
EMCEFR1_I | ENGINE FAILURE RELAY | 1 | L | 48 | 48
EMCCIM1_S | CUSTOMER INTERFACE MODULE-CIM | 1 | L | 542 | 542
EMCRMP1_S | REM 8-LIGHT ANNUNCIATOR | 1 | L | 636 | 636
COLMJA2_S | MECHANICAL JOINT ASSEMBLY | 1 | L | 315 | 315
EXCEL10_S | ELBOW-254MM (10 IN) | 1 | L | 666 | 666
EXCFF40_S | FLEXIBLE FITTING/203MM/8IN | 1 | L | 426 | 426
EXHEX11_S | FLANGE & EXH EXP/203 TO 254MM | 1 | L | 1420 | 1420
MUFSA04_S | MUFFLER-SPARK/20DBA/10IN | 1 | L | 2475 | 2475
FULFL14_S | FUEL FILTER | 1 | L | 9431 | 9431
RTD0001_I | BEARING TEMPERATURE RTD/PLAT | 1 | L | 430 | 430
MVC0003_I | MANUAL VOLTAGE CONTROL | 1 | L | 741 | 741
SHREL01_I | SPACE HEATER RELAY | 1 | L | 96 | 96
EMCDV01_I | DUAL VOLTAGE CAPABILITY | 1 | L | 0 | 0
EMCDP01_I | DUST-PROOF ENCLOSURE | 1 | L | 101 | 101
VIBIS05_S | VIBRATION ISOLATORS | 1 | L | 1263 | 1263
SOV2403_S | GAS SHUTOFF VALVE | 1 | L | 562 | 562
| USD List Total |  |  | 612707
CONTINU_I | CONTINUOUS POWER APPLICATION | 1 | N | 0 | 0
60H0480_I | VOLTAGE INDICATOR 480V (WYE) | 1 | N | 0 | 0
MSPETPG_I | PETRO LAND PRODUCTION / PMPING | 1 | N | 0 | 0
MSCPB32_I | LAND PRODUCTION PRIME GENSET | 1 | N | 0 | 0
NOEUCRT_I | NO EU CERT REQUEST-SEE DETAILS | 1 | N | 0 | 0
LITENGO_I | ENGLISH LITERATURE | 1 | N | 0 | 0
TVA0003_I | TVA NOT PERFORMED BY CAT | 1 | N | 0 | 0
TRSGEN1_I | GENERATOR TEST REPORT | 1 | N | 324 | 324
TRSENG1_I | STD ENGINE TEST CHARGE 3L0436 | 1 | N | 324 | 324
TRSGEN7_I | PGS TEST REPORT @ 0.8 PF | 1 | N | 324 | 324
TSPCSA4_I | CSA TEST AND CERTIFICATION | 1 | N | 0 | 0
TSPCSA5_I | NEUTRAL GND CONNECTION | 1 | N | 173 | 173
DPX0002_I | DOMESTIC PACK FOR EXPORT | 1 | N | 0 | 0
SRP0014_I | PRESERVATION - CORROSION INHIB | 1 | N | 939 | 939
SWP0001_I | SHRINK WRAP PROTECTION - 3516 | 1 | N | 315 | 315
| USD Net Total |  |  | 2399
Additional Cat Attachments
Part Number | Description | Qty | L/N | Total Price | Unit Price
0V8707 | DTO QUOTE | 1 |  | 0 | 0
0V1156 | QUOTE NO: 10664165 | 1 |  | 0 | 0
0V3410 | PETROLEUM PACKAGING | 1 |  | 0 | 0
0V2319 | DTO Oil Accumulator/CCV | 1 |  | 0 | 0
0V2319 | TURBO OIL ACCUMULATOR 3944961 | 1 | N | 752.25 | 752.25
0V2319 | Close Crankcase Ventilation-CCV(2003057) | 1 | L | 8358 | 8358
0V2834 | TESTING (STANDARD AND/OR SPECIAL) | 1 |  | 0 | 0
0V2319 | WITNESS TEST/OBSERVATION OF TEST | 1 | N | 4700 | 4700
0V2834 | CLARIFICATIONS/EXCEPTIONS | 1 |  | 0 | 0
|  | USD Additional Cat Total |  | 13810.25
Parts
Part Number |  | Qty | Description | Weight
G3516PTPL |  | 1 | G3516 PETRO PACKAGE LAFAYETTE | 0
PC0253 |  | 1 | G3516 LE GENSET-60HZ HPC-CORE | 0
3861569 |  | 1 | ENGINE AR-CORE | 0
GG5401 |  | 1 | 1085 BHP 770 GEN KW 60 HZ CONT WOF, LE | 0
PC1356 |  | 1 | GENERATOR ARRGT. 807F PM-FW | 9064.18
9Y7181 |  | 1 | GENERATOR 807 FRAME PM | 0
5N9597 |  | 1 | VOLTAGE INDICATOR 480V, 60HZ | 0
9Y8164 |  | 1 | CONTINUOUS POWER APPLICATION | 0
0V2788 |  | 1 | END USE: PETRO PRODUCTION/PUMPING | 0
0V3364 |  | 1 | EXPORT TAG | 0
PC1371 |  | 1 | ALTERNATOR-60 AMP AIR START | 68.3
PC1382 |  | 1 | JW STANDARD INLET | 211.11
PC1381 |  | 1 | JW RH FLANGE OUTLET | 8.64
4202422 |  | 1 | MTG GP - VALVE | 237.51
PC2558 |  | 1 | ELECT MODULAR CONT PANEL II+ | 0
1669270 |  | 1 | GOVERNOR GP-EMCPII (2301A) | 22.74
3571662 |  | 1 | CERTIFICATION GP | 0
1079019 |  | 1 | DIGITAL TACHOMETER | 1.34
4472765 |  | 1 | GAUGE GP | 3.52
5P2506 |  | 1 | LITERATURE - ENGLISH | 0
PC1360 |  | 1 | AIR PRELUBE PUMP | 120.6
PC1384 |  | 1 | DUPLEX OIL FILTER-RH SERVICE | 60.5
3961996 |  | 1 | REGULATOR GP | 15.25
PC1386 |  | 1 | STD OIL PAN | 740.57
3794844 |  | 1 | OIL PAN DRAIN VALVE | 3.89
PC1388 |  | 1 | SUMP PUMP LH-STD PAN | 34
LA6090 |  | 1 | ULTRA 40 OIL - 416 LITERS | 0
PC1675 |  | 1 | DAMPER GUARD NO SS | 0
3943372 |  | 1 | COVER GP-CYL BLK | 77.01
PC1860 |  | 1 | 150 PSI AIR STARTER FUW AIR PRELUBE | 0
PC1635 |  | 1 | BARRING GP LH | 6.63
1543853 |  | 1 | ELECTRIC AIR START CONTROL RH | 5
PC1397 |  | 1 | JACKET WATER HEATER-SINGLE | 0
3843631 |  | 1 | ADAPTER GP - ACL | 29.8
PC1909 |  | 1 | JOINT ASSEMBLY SHIPPED LOOSE | 86.89
3843623 |  | 1 | FLEXIBLE FITTING | 18.57
5N2458 |  | 1 | ELBOW, 254 MM (10 IN) | 53.88
PC1348 |  | 1 | FLANGE AND EXHAUST EXPANDER | 44.55
1520596 |  | 1 | MUFFLER | 329.05
3266199 |  | 1 | FILTER AS | 235.4
6I4906 |  | 1 | BEARING TEMPERATURE RTD | 2.2
5N0591 |  | 1 | MANUAL VOLTAGE CONTROL | 18.7
2210752 |  | 1 | SPACE HEATER RELAY | 0.24
1232861 |  | 1 | DUAL VOLTAGE CAPABILITY | 2.2
1214705 |  | 1 | DUST-PROOF CONTROL PANEL | 4.4
5N8877 |  | 1 | VIBRATION ISOLATORS | 145.45
1030692 |  | 1 | VALVE GP - SOLENOID | 5.5
3775904 |  | 1 | VALVE GP-AIR | 22.7
PC1341 |  | 1 | 24 VOLT BATTERY SET - DRY | 0
7W0825 |  | 1 | BATTERY CABLES | 6.29
3810686 |  | 1 | SUPPORT GP - BATTERY | 32.57
0P1530 |  | 1 | GENERATOR TEST REPORT | 0
0P1852 |  | 1 | STD ENGINE TEST CHARGE 3L0436 | 0
0P1793 |  | 1 | ###GEN SET TEST CHG @ 0.8 PF### | 0
LA1330 |  | 1 | CSA TEST AND CERTIFICATION | 0
1219480 |  | 1 | NEUTRAL GROUNDING CONNECTION | 3.86
0P1914 |  | 1 | DOMESTIC PACK FOR EXPORT | 0
0P7607 |  | 1 | SHRINK WRAP PROTECTION - 3516 | 0
1453211 |  | 1 | PRESERVATION GP ENGINE - 3516 | 0
1214714 |  | 1 | METRIC DISPLAY UNITS | 0
1214712 |  | 1 | PANEL LIGHTS/AUXILIARY RELAY | 3.38
1214716 |  | 1 | ALARM MODULE - NFPA 99 | 2
1879372 |  | 1 | MODULE GP | 4.33
1341157 |  | 1 | ENGINE FAILURE RELAY | 2.21
9Y6496 |  | 1 | CUSTOMER INTERFACE MODULE-CIM | 10.67
7C5296 |  | 1 | REM. ANNUNCIATOR PANEL-8 LIGHT | 6.96
PC2562 |  | 1 | GAUGES | 0
Caterpillar USD List Subtotal |  | 621065
Caterpillar USD Net Subtotal |  | 7851.25
Quote Pricing Information - 30305267
Configuration - Configuration 01
DTO Quote # - 0010664165
Caterpillar Factory Costs
Total Configuration List Price
612707
Additional Attachments List Price
8358
% Escalation
0%
0
% Discount
30%
186319.5
Dealer Net Price
434745.5
Local Cost Summary
|  | Exchange Rate (USD/USD) |  | 1
Local Net Price
442596.75
Local Freight Inland
0
Freight Local
0
Local Duty Percent
0%
0
Local Tax Percent
0%
0
Add'l Discounts: (% List Price w/o Escalation)
Local Components
Local Attachment
This Configuration has No Local Attachments
Total Local Cost
0
Adjusted Net Price
434745.5
Net Items
7851.25
CAT Freight
Freight:
Inland
0
Port
0
Ocean
0
Other
0
Handling Fee NIC
0
Tax
0
Dealer Components
Dealer Attachments
This Configuration has No Dealer Attachments
Total Dealer Cost
0
Labor Attachment
This Configuration has No Labor Attachments
Total Labor Cost
0
Quote Level Attachments
0
Est. Total CAT Weight
11752.59 lbs
Est. Total Non-CAT Weight
0 lbs
Est. Total Weight
11752.59 lbs
Factory Net Price Total
442596.75
TOTAL NON-CAT
0
TOTAL PROJECT COST
442596.75
Gross Profit Percent
10%
Exchange Rate Used
1
End Customer Sell Price
491774.17
End Customer Currency
USD
SYSTEM GENERATED QUOTATION PRICE
491774.17
System Generated Gross Profit
49177.42
System Generated % Gross Profit
10%

## SCOPE OF SUPPLY
Standard Consist for G3516 PTPL 770EKW 480V 60HZ Open Type
AIR INLET SYSTEM
Air cleaner; intermediate duty with service indicator
CHARGING SYSTEM
Charging Alternator
CONTROL SYSTEM
Electronic Modular Control Panel II+ (EMCP II+),
Governor; Woodward 2301A Speed Control,
EG3P Actuator (2301A installed in EMCPII+ panel).
Battery 24V, Cables & Rack
COOLING SYSTEM
Aftercooler water pump, gear driven, centrifugal, non-self-priming,
Thermostats and housing (full open temperature 98 C (208 F)).
Jacket water pump, gear driven, centrifugal, non-self-priming.
Remote Radiator Cooled (Horizontal)
EXHAUST SYSTEM
Exhaust manifolds; water cooled
Muffler
Flexible Fitting & Flanges, Expander, Elbow
FLYWHEELS & FLYWHEEL HOUSINGS
Flywheel; SAE No. 00,
Flywheel housing; SAE No. 00,
SAE standard rotation.
FUEL SYSTEM
Gas pressure regulator (Requires 241.3 - 275.8 kPa (35 - 40 psi) gas),
Natural gas carburetor,
Dual rear inlet connections.
Fuel Filters (Dry Gas)
GENERATORS AND GENERATOR ATTACHMENTS
SR4 Generator
PM Excited
Bearing Temp RTD
IGNITION SYSTEM
Adem IV
(includes detonation sensitive timing)
INSTRUMENTATION
Oil Pressure Gauge,
Water Temperature Gauge,
Service Meter,
LUBE SYSTEM
Crankcase breather; top mounted
Oil cooler
Duplex Oil Filter
Standard Oil Pan
Sump Pump
Oil Level Regulator
Pneumatic Prelube Pump
MOUNTING SYSTEM
Rails (engine-generator mounting, 330 mm (13 in))
Vibration Isolators
POWER TAKE-OFFS
Damper Guard,
PROTECTION SYSTEM
Shutoff solenoid; 24 volt, energized to run (one at each fuel inlet),
Explosion Relief Valves.
STARTING SYSTEM
Pneumatic Starter
GENERAL
Paint; Caterpillar Yellow
Crankshaft vibration damper and guard
Lifting eyes
Commisioning Spares (Engine Oil, Coolant and Filters 1 Lot)
Commisioning at Site
Sourced Plant : Lafayette USA

## FORM-FCA
Material No. (internal) |  |  | MARGIN | 24%
Material No. (external) |  |  | RATE (USD-IDR)
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | FCA SINGAPORE
ZQ01 | UNIT & ATTACHMENT VALUE |  | 445104.15 | 478704.15
| A. LIST PRICE | 612707
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 16209.25
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 0
| - Freight to PTTU Singapore | 0
| - Forwarding Charge | 0
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 0
| - Duty | 0%
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 0
| - Handling Charges (Singapore) | 0
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 0
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 0
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 0
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 15500
| - Testing & Commissioning | 15500 | 0
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 50100
| - Local Completion (Accessories) - Singapore | 33600
| - Local Completion (Accessories) - Indonesia | 16500
TOTAL COST |  |  | 510704.15
TOTAL DELIVERY FCA SINGAPORE (USD) |  |  |  | 672000
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## FORM-CIF
Material No. (internal) |  |  | MARGIN | 24%
Material No. (external) |  |  | RATE (USD-IDR)
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | FCA SINGAPORE
ZQ01 | UNIT & ATTACHMENT VALUE |  | 445104.15 | 484400.9104
| A. LIST PRICE | 612707
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 16209.25
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 4500
| - Freight to PTTU Indonesia | 4500
| - Freight to PTTU Singapore | 0
| - Forwarding Charge | 0
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 0
| - Duty | 0%
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 0
| - Handling Charges (Singapore) | 0
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 0
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 1196.7604
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 1196.7604
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 15500
| - Testing & Commissioning | 15500 | 0
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 50100
| - Local Completion (Accessories) - Singapore | 33600
| - Local Completion (Accessories) - Indonesia | 16500
TOTAL COST |  |  | 516400.9104
TOTAL DELIVERY FCA SINGAPORE (USD) |  |  |  | 679500
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## FORM-DDP
Material No. (internal) |  |  | MARGIN | 24%
Material No. (external) |  |  | RATE (USD-IDR) | 0
Material Description |  |  | VALIDITY DATE FROM-TO | 2015-09-01 | 2015-12-31
CONDITION TYPE | DESCRIPTION |  | PRICE (USD) | CNF JAKARTA
ZQ01 | UNIT & ATTACHMENT VALUE |  | 445104.15 | 504807.3158
| A. LIST PRICE | 612707
| - Factory (FTY) Discount | 30%
| - CAT Discount (CTOPS, dll) | 0%
| B. NET PRICE | 16209.25
ZQ02 | INTERNATIONAL FREIGHT INBOUND |  | 4500
| - Freight to PTTU Indonesia | 4500
| - Freight to PTTU Singapore | 0
| - Forwarding Charge | 0
- Clearance (PIB, Forwarding Fee, Clearance)
ZQ03 | CUSTOM DUTY |  | 48440.091
| - Duty | 48440.091
- PPH Import
ZQ04 | LOCAL FREIGHT/HANDLING INBOUND |  | 2906.4055
| - Handling Charges (Singapore) | 0
| - Handling Charges (Indonesia) | 2906.4055
- Transport to warehouse
ZQ05 | SERVICE & PARTS |  | 1000
| - Attachment (toolset, battery, PWM Converter, etc) | 0
| - Services in Jakarta | 1000
| - Services in Singapore | 0
- Inspection Good Income (IGI)
- Pre Delivery Service (PDI)
- Misc. Service Charges
ZQ06 | INSURANCE |  | 1196.7604
| - Engine Insurance | 0
| - Forwarding Charge Insurance | 1196.7604
- Inland Insurance
ZQ07 | PRE-COMMISSIONING & COMMISSIONING |  | 15500
| - Testing & Commissioning | 15500
ZQ08 | WARRANTY | 0 | 0
ZQ09 | MISCELLANEOUS |  | 0
| - Finance Recovery Charge | 0
- Customer Visit
- FAT
| - ESCALATION (List price) | 0
| - ESCALATION (Nett price) | 0
ZQ10 | LOCAL FREIGHT/HANDLING OUTBOUND |  | 0
ZQ11 | INTERNATIONAL FREIGHT OUTBOUND |  | 0
ZQ12 | CAT DISCOUNT |  | 0
ZQ13 | MARKETING PROGRAM PARTS VOUCHER |  | 0
ZQ14 | MARKETING PROGRAM PREVENTIVE MAINTENANCE |  | 0
ZQ15 | SERVICE & PARTS (SUBLETTING) |  | 50100
| - Local Completion (Accessories) - Singapore | 33600
| - Local Completion (Accessories) - Indonesia | 16500
TOTAL COST |  |  | 568747.4069
TOTAL DELIVERY DDP JAKARTA (USD) |  |  |  | 748400
Note on B1: 30000120
Note on E1: Example: 18%
Note on B2: E13IC18-600_001:AA
Note on E2: Example: IDR 14.379
Note on B3: MDP/C18/600BHP/1800RPM
Note on E3: Example: 1 September 2015
Note on F3: Example: 31 December 2015

## REFERENCE
Cost Component Code
Cost Component Type | Description | Cost Element Unit | Cost Element Attachment
ZQ01 | Unit & Attachment Value | 5010000000 | 5010600000
ZQ02 | Int’l Freight Inbound | 5011001000 | 5011001000
ZQ03 | Custom Duty | 5011003000 | 5011003000
ZQ04 | Local Freight/Handling Inbound | 5011002000 | 5011002000
ZQ05 | Service & Parts | 5011004000 | 5011004000
ZQ06 | Insurance | 5011006000 | 5011006000
ZQ07 | Pre-Commissioning & Commissioning | 5011007000 | 5011007000
ZQ08 | Warranty | 5011008000 | 5011008000
ZQ09 | Miscellaneous | 5011009000 | 5011009000
ZQ10 | Local Freight/Handling Outbound | 5011010000 | 5011010000
ZQ11 | Int’l Freight Outbound | 5011011000 | 5011011000
ZQ12 | CAT Discount
ZQ13 | Marketing Program Parts Voucher
ZQ14 | Marketing Program Preventive Maintenance
ZQ15 | Service & Parts (Subletting) | 5011005000 | 5011005000